## raw data v2
No. | Test Name | Manufacturer | Test Format | Use Case | Target | Disease Stage (days) | Sensitivity | Specificity | Ref No.
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | Total Ig | Early (~1-7) | 38.3 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | Total Ig | Intermediate (~8-14) | 89.6 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | Total Ig | Late (>14) | 100 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | Total Ig | Overall | 93.1 | 99.1 | 1
2 | Wantai SARS-CoV-2 Ab ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | Total Ig | Overall | 95.4 | 100 | 15
2 | Wantai SARS-CoV-2 Ab ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | Total Ig | Early (~1-7) | 64.1 |  | 9
2 | Wantai SARS-CoV-2 Ab ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | Total Ig | Intermediate (~8-14) | 98.7 |  | 9
2 | Wantai SARS-CoV-2 Ab ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | Total Ig | Late (>14) | 100 |  | 9
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgM | Early (~1-7) | 28.7 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgM | Intermediate (~8-14) | 73.3 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgM | Late (>14) |  |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgM | Overall | 82.7 | 98.6 | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgG | Early (~1-7) | 19.1 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgG | Intermediate (~8-14) | 54.1 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgG | Late (>14) | 79.8 |  | 1
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | ELISA | current infection | IgG | Overall | 64.7 | 99 | 1
3 | Wantai SARS-CoV-2 IgG ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgG | Early (~1-7) | 33.3 |  | 9
3 | Wantai SARS-CoV-2 IgG ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgG | Intermediate (~8-14) | 76 |  | 9
3 | Wantai SARS-CoV-2 IgG ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgG | Late (>14) | 93.3 |  | 9
3 | Wantai SARS-CoV-2 IgG ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgG | Overall | 88.8 | 100 | 9
4 | Wantai SARS-CoV-2 IgM ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgM | Early (~1-7) | 33.3 |  | 9
4 | Wantai SARS-CoV-2 IgM ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgM | Intermediate (~8-14) | 86.7 |  | 9
4 | Wantai SARS-CoV-2 IgM ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgM | Late (>14) | 96.7 |  | 9
4 | Wantai SARS-CoV-2 IgM ELISA | Beijing Wantai Biological Pharmacy | ELISA | n/a | IgM | Overall | 92.5 | 100 | 9
5 | Wantai SARS-CoV-2 Ab Rapid Test | Beijing Wantai Biological Pharmacy | RDT | n/a | Total Ig | Overall | 97.5 | 95.2 | 9
5 | Wantai SARS-CoV-2 IgM Rapid Test | Beijing Wantai Biological Pharmacy | RDT | n/a | IgM | Overall | 88.8 | 98.1 | 9
5 | Wantai SARS-CoV-2 IgG Rapid Test | Beijing Wantai Biological Pharmacy | RDT | n/a | IgG | Overall | 86.2 | 99.5 | 9
6 | CMIA-IgM | Xiamen InnoDx Biotech Co., Ltd. | CLIA | n/a | IgM | Overall | 86.2 | 99.3 | 9
6 | CMIA-Ab | Xiamen InnoDx Biotech Co., Ltd. | CLIA | n/a | Total Ig | Overall | 96.2 | 99.3 | 9
7 | IgG/IgM ELISA kit | Zhuhai Livzon Diagnostics Inc | ELISA | current infection | IgM | Late (>14) | 77.3 | 100 | 2
7 | IgG/IgM ELISA kit | Zhuhai Livzon Diagnostics Inc | ELISA | current infection | IgG | Late (>14) | 83.3 | 95 | 2
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG | Early (~1-7) | 31.8 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG | Intermediate (~8-14) | 58.7 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG | Late (>14) | 89 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG | Overall | 70.1 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG; IgM | Early (~1-7) | 40.9 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG; IgM | Intermediate (~8-14) | 73.9 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG; IgM | Late (>14) | 95 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgG; IgM | Overall | 80.4 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgM | Early (~1-7) | 31.8 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgM | Intermediate (~8-14) | 64.1 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgM | Late (>14) | 80 | 100 | 3
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | ELISA | current infection | IgM | Overall | 68.2 | 100 | 3
9 | SARS-CoV-2 IgM/IgG CLIA kits | Shenzhen Yhlo Biotech | CLIA | current infection | IgG | Intermediate (~8-14) |  |  | 4
9 | SARS-CoV-2 IgM/IgG CLIA kits | Shenzhen Yhlo Biotech | CLIA | current infection | IgG | Late (>14) |  |  | 4
10 | Chemiluminescence detection kit | Shenzhen Yhlo Biotech | CLIA | current infection | IgM | Overall | 100 | 98.5 | 7
10 | Chemiluminescence detection kit | Shenzhen Yhlo Biotech | CLIA | current infection | IgG | Overall | 100 | 99 | 7
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG | Early (~1-7) | 40.9 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG | Intermediate (~8-14) | 65.2 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG | Late (>14) | 90 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG | Overall | 74.3 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgM | Early (~1-7) | 36.4 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgM | Intermediate (~8-14) | 69.6 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgM | Late (>14) | 93 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgM | Overall | 77.1 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG; IgM | Early (~1-7) | 45.5 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG; IgM | Intermediate (~8-14) | 78.3 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG; IgM | Late (>14) | 94 | 100 | 3
10 | 2019-nCoV IgG/IgM Antibody Detection Kit | Beijing Hotgen Biotech | ELISA | current infection | IgG; IgM | Overall | 82.2 | 100 | 3
11 | 2019-nCoV IgG/IgM Rapid Test Cassette | Zhejang Orient Gene Biotech | RDT | current infection | IgG; IgM | Early (~1-7) | 0 | 92.3 | 5
11 | 2019-nCoV IgG/IgM Rapid Test Cassette | Zhejang Orient Gene Biotech | RDT | current infection | IgG; IgM | Intermediate (~8-14) | 33.3 | 74.1 | 5
11 | 2019-nCoV IgG/IgM Rapid Test Cassette | Zhejang Orient Gene Biotech | RDT | current infection | IgG; IgM | Late (>14) | 50 | 76.5 | 5
12 | STANDARD Q COVID-19 IgM/IgG Duo Test | SD BIOSENSOR, Inc. | RDT | n/a | IgG; IgM | Overall | 58 | 97.6 | 20
13 | MAGLUMI 2019-nCoV IgM (CLIA) | Snibe Co. | CLIA | n/a | IgM | Overall | 49.5667 | 98.4 | 20
13 | MAGLUMI 2019-nCoV IgG (CLIA) | Snibe Co. | CLIA | n/a | IgG | Early (~1-7) | 45.5 | 95.1 | 20
13 | MAGLUMI 2019-nCoV IgG (CLIA) | Snibe Co. | CLIA | current infection | IgG | Overall | 98.8 | 95.1 | 20
14 | COVID-19 IgG/IgM Combo Rapid Test Device | Liming Bio-Products | RDT | n/a | IgG; IgM | Overall | 78.5667 | 100 | 20
15 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG; IgM | Early (~1-7) | 12.5 |  | 6
15 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG; IgM | Intermediate (~8-14) | 33.3 |  | 6
15 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG; IgM | Late (>14) | 73.9 |  | 6
15 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG; IgM | Overall | 47.3 | 48.1 | 6
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | n/a | IgG; IgM | Overall | 77.025 | 96.6 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG | Early (~1-7) | 31.8 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG | Intermediate (~8-14) | 86.95 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG | Late (>14) | 96 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG | Overall | 64.95 | 93.9 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgM | Early (~1-7) | 40.9 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgM | Intermediate (~8-14) | 91.3 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgM | Late (>14) | 96 | 92.3 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgM | Overall | 63.0667 | 94.6333 | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) |  |  | 20
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | RDT | current & past infection | IgG; IgM | Late (>14) |  |  | 20
17 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Shanghai Kehua Bio-engineering | RDT | n/a | IgG; IgM | Overall | 70.6 | 100 | 20
18 | COVID-19 rapid test | PRIMA Lab S.A. | RDT | n/a | IgG; IgM | Overall | 74.15 | 87.1 | 20
19 | COVID-19 ELISA IgG | DIA PRO Diagnostic BioProbes | ELISA | n/a | IgG | Overall | 91.3 | 90 | 20
20 | COVID-19 ELISA IgG | Epitope Diagnostics | ELISA | n/a | IgG | Overall | 80.9 | 90 | 20
20 | COVID-19 IgM ELISA Assay | Epitope Diagnostics | ELISA | n/a | IgM | Overall | 17.4 | 100 | 20
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current infection | IgG; IgM | Overall | 58.075 | 87.05 | 8
22 | Coronavirus IgG/IgM antibody GICA kit | Zhuhai Livzon Diagnostics | RDT | n/a | IgG; IgM | Overall | 82.4 | 100 | 9
22 | Coronavirus IgG/IgM antibody GICA kit | Zhuhai Livzon Diagnostics | RDT | n/a | IgG | Overall | 81.3 | 100 | 9
22 | Coronavirus IgG/IgM antibody GICA kit | Zhuhai Livzon Diagnostics | RDT | n/a | IgM | Overall | 57.1 | 100 | 9
23 | SARS-CoV-2 ELISA | Darui Biotech | ELISA | current & past infection | IgM | Overall | 46.2 | 78.1 | 10
23 | SARS-CoV-2 ELISA | Darui Biotech | ELISA | current & past infection | IgG | Overall | 23.1 | 100 | 10
24 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG; IgM | Overall | 89.2 | 73.4 | 20
25 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG; IgM | Overall | 80 | 100 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgG | Early (~1-7) | 25 | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgG | Intermediate (~8-14) | 100 | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgG | Late (>14) |  | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgG | Overall | 56 | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | n/a | IgG; IgM | Overall | 90 | 100 | 15
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgM | Early (~1-7) |  | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgM | Intermediate (~8-14) | 100 | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgM | Late (>14) |  | 92.3 | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | RDT | current & past infection | IgM | Overall | 60 | 92.3 | 20
27 | Novel Coronavirus IgG/IgM antibody ELISA kit | Zhuhai Livzon Diagnostics | ELISA | n/a | IgM | Overall | 44.4 | 100 | 12
27 | Novel Coronavirus IgG/IgM antibody ELISA kit | Zhuhai Livzon Diagnostics | ELISA | n/a | IgG | Overall | 82.5 | 100 | 12
27 | Novel Coronavirus IgG/IgM antibody ELISA kit | Zhuhai Livzon Diagnostics | ELISA | n/a | IgG; IgM | Overall | 87.3 | 100 | 12
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgG; IgM | Overall | 68.6 | 63.6 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgG | Early (~1-7) | 3.7 | 44.4 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgG | Intermediate (~8-14) | 57.1 | 66.7 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgG | Late (>14) | 96.8 | 71.4 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgG | Overall | 54.7 | 59.1 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgM | Early (~1-7) | 11.1 | 22.2 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgM | Intermediate (~8-14) | 78.6 | 33.3 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgM | Late (>14) | 74.2 | 57.1 | 14
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | RDT | current & past infection | IgM | Overall | 55.8 | 36.4 | 14
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | past infection | IgG | Overall | 80 | 100 | 8
29 | Anti-SARS-CoV-2 ELISA (IgG) (manual, automated) | EUROIMMUN AG | ELISA | n/a | IgG | Overall | 66.7 | 96.3 | 15
29 | Anti-SARS-CoV-2 ELISA (IgA) (manual, automated) | EUROIMMUN AG | ELISA | n/a | IgA | Overall | 93.3 | 92.7 | 15
30 | OnSite COVID-19 IgG/IgM Rapid Test | CTK Biotech, Inc. | RDT | n/a | IgG; IgM | Overall | 90 | 100 | 15
31 | Anti-SARS-CoV-2 Rapid Test | AutoBio Diagnostics | RDT | n/a | IgG; IgM | Overall | 93.3 | 100 | 15
32 | Coronavirus Diseases 2019 (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | n/a | IgG; IgM | Overall | 83.3 | 100 | 15
33 | NG-Test IgM-IgG COVID All-in-One lateral flow immunoassay | NG Biotech | RDT | past infection | IgG; IgM | Late (>14) | 97 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgM | Early (~1-7) | 42.9 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgM | Intermediate (~8-14) | 16.7 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgM | Late (>14) | 0 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgM | Overall | 17.4 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgG | Early (~1-7) | 57.1 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgG | Intermediate (~8-14) | 100 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgG | Late (>14) | 60 | 100 | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | RDT | current & past infection | IgG | Overall | 69.6 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgG | Early (~1-7) | 57.1 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgG | Intermediate (~8-14) | 100 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgG | Late (>14) | 60 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgG | Overall | 69.6 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgM | Early (~1-7) | 57.1 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgM | Intermediate (~8-14) | 33.3 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgM | Late (>14) | 60 | 100 | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | RDT | current & past infection | IgM | Overall | 52.2 | 100 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG | Early (~1-7) | 59.1 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG | Intermediate (~8-14) | 95.65 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG | Late (>14) | 79.8 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG | Overall | 78.45 | 89.1 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgM | Early (~1-7) | 64.75 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgM | Intermediate (~8-14) | 93.5 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgM | Late (>14) | 71.8 | 92.3 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgM | Overall | 76.7 | 86 | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) |  |  | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG; IgM | Late (>14) |  |  | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | RDT | current & past infection | IgG; IgM | Overall | 94.4 | 73.4 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgG | Early (~1-7) | 28.6 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgG | Intermediate (~8-14) | 100 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgG | Late (>14) | 0 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgG | Overall | 34.8 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgM | Early (~1-7) | 57.1 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgM | Intermediate (~8-14) | 100 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgM | Late (>14) | 20 | 100 | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | RDT | current & past infection | IgM | Overall | 52.2 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgG | Early (~1-7) | 28.6 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgG | Intermediate (~8-14) | 66.7 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgG | Late (>14) | 0 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgG | Overall | 26.1 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgM | Early (~1-7) | 0 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgM | Intermediate (~8-14) | 0 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgM | Late (>14) | 10 | 100 | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | RDT | current & past infection | IgM | Overall | 4.3 | 100 | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG | Early (~1-7) | 47.6 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG | Intermediate (~8-14) | 72.7 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG | Late (>14) | 100 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG | Overall | 74.4 | 100 | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgM | Early (~1-7) | 57.1 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgM | Intermediate (~8-14) | 77.3 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgM | Late (>14) | 72 |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgM | Overall | 71.1 | 100 | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) |  |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG; IgM | Late (>14) |  |  | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | RDT | current & past infection | IgG; IgM | Overall | 87 | 100 | 20
40 | COVID-19 rapid test | PharmaAct AG | RDT | past infection | IgG; IgM | Late (>14) | 36.4 | 88.9 | 16
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | past infection | IgM | Overall | 83.3 | 100 | 8
41 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | AMEDA Labordiagnostik GmbH | RDT | past infection | IgG; IgM | Late (>14) | 95.7 | 97.4 | 20
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG; IgM | Overall | 71.55 | 100 | 20
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgM | Early (~1-7) | 11.1 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgM | Intermediate (~8-14) | 52.9 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgM | Late (>14) | 68.8 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgM | Overall | 48.1 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG | Early (~1-7) | 18.5 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG | Intermediate (~8-14) | 62.9 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG | Late (>14) | 75 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG | Overall | 56.6 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG; IgM | Early (~1-7) | 18.5 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 62.9 | 100 | 17
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | RDT | current & past infection | IgG; IgM | Late (>14) | 78.1 | 100 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgM | Early (~1-7) | 26.9 | 87.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgM | Intermediate (~8-14) | 67.1 | 87.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgM | Late (>14) | 78.1 | 87.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgM | Overall | 61.7 | 87.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG | Early (~1-7) | 23.1 | 96.3 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG | Intermediate (~8-14) | 60 | 96.3 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG | Late (>14) | 71.9 | 96.3 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG | Overall | 55.5 | 96.3 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG; IgM | Early (~1-7) | 30.8 | 86.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 70 | 86.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG; IgM | Late (>14) | 81.2 | 86.9 | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | RDT | current & past infection | IgG; IgM | Overall | 64.8 | 86.9 | 17
44 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG | Early (~1-7) | 25.9 | 100 | 17
44 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG | Intermediate (~8-14) | 60.9 | 100 | 17
44 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG | Late (>14) | 65 | 100 | 17
44 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG | Overall | 53.4 | 100 | 17
45 | SARS-CoV-2 rapid IgG-IgM Viva-DiagTM Test combined antibody test kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG; IgM | Overall | 64.3 | 91.6667 | 11
45 | SARS?CoV?2 rapid IgG?IgM combined antibody test kit | Jiangsu Medomics Medical Technologies | RDT | current infection | IgM | Overall | 44.6 | 94.65 | 13
45 | SARS?CoV?2 rapid IgG?IgM combined antibody test kit | Jiangsu Medomics Medical Technologies | RDT | current infection | IgG | Overall | 34.25 | 98.65 | 13
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgM | Early (~1-7) | 40.7 | 97.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgM | Intermediate (~8-14) | 77.1 | 97.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgM | Late (>14) | 83.9 | 97.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG | Early (~1-7) | 25.9 | 98.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG | Intermediate (~8-14) | 71.4 | 98.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG | Late (>14) | 74.2 | 98.1 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG; IgM | Early (~1-7) | 40.7 | 95.2 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 81.4 | 95.2 | 17
45 | PerfectPOC Novel Corona Virus (SARS-CoV-2) IgM/IgG Rapid Test Kit | Jiangsu Medomics Medical Technologies | RDT | current & past infection | IgG; IgM | Late (>14) | 87.1 | 95.2 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgM | Early (~1-7) | 44.4 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgM | Intermediate (~8-14) | 78.9 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgM | Late (>14) | 81.2 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgM | Overall | 72.3 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG | Early (~1-7) | 22.2 | 99.1 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG | Intermediate (~8-14) | 54.9 | 99.1 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG | Late (>14) | 75 | 99.1 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG | Overall | 53.1 | 99.1 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG; IgM | Early (~1-7) | 44.4 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 78.9 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG; IgM | Late (>14) | 84.4 | 84.3 | 17
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | RDT | current & past infection | IgG; IgM | Overall | 73.1 | 84.3 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG; IgM | Early (~1-7) | 32 | 89.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 75.7 | 89.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG; IgM | Late (>14) | 77.4 | 89.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG; IgM | Overall | 67.5 | 89.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG | Early (~1-7) | 28 | 91.6 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG | Intermediate (~8-14) | 75.7 | 91.6 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG | Late (>14) | 77.4 | 91.6 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgG | Overall | 66.7 | 91.6 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgM | Early (~1-7) | 32 | 90.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgM | Intermediate (~8-14) | 75.7 | 90.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgM | Late (>14) | 77.4 | 90.7 | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | RDT | current & past infection | IgM | Overall | 67.5 | 90.7 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgM | Early (~1-7) | 14.8 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgM | Intermediate (~8-14) | 35.3 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgM | Late (>14) | 25 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgM | Overall | 28.7 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG; IgM | Early (~1-7) | 25.9 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 65.2 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG; IgM | Late (>14) | 70 | 96.3 | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | RDT | current & past infection | IgG; IgM | Overall | 56.9 | 96.3 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG; IgM | Early (~1-7) | 37 | 97.2 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 77.1 | 97.2 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG; IgM | Late (>14) | 84.4 | 97.2 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG; IgM | Overall | 70.5 | 97.2 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgM | Early (~1-7) | 37 | 98.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgM | Intermediate (~8-14) | 75.7 | 98.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgM | Late (>14) | 81.2 | 98.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgM | Overall | 69 | 98.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG | Early (~1-7) | 22.2 | 99.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG | Intermediate (~8-14) | 57.1 | 99.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG | Late (>14) | 71.9 | 99.1 | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | RDT | current & past infection | IgG | Overall | 53.5 | 99.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgM | Early (~1-7) | 25.9 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgM | Intermediate (~8-14) | 66.2 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgM | Late (>14) | 78.1 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgM | Overall | 60.8 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG | Early (~1-7) | 25.9 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG | Intermediate (~8-14) | 60.6 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG | Late (>14) | 71.9 | 98.1 | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG | Overall | 56.2 | 98.1 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgM | Early (~1-7) | 18.5 | 97.2 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgM | Intermediate (~8-14) | 64.8 | 97.2 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgM | Late (>14) | 71.9 | 97.2 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgM | Overall | 56.9 | 97.2 | 17
51 | EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG | Early (~1-7) | 40.7 | 90.7 | 17
51 | EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG | Intermediate (~8-14) | 83.1 | 90.7 | 17
51 | EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG | Late (>14) | 81.2 | 90.7 | 17
51 | EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG | Overall | 73.8 | 90.7 | 17
52 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG; IgM | Early (~1-7) | 32.95 | 98.6 | 17
52 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 67.6 | 98.1 | 17
52 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG; IgM | Late (>14) | 78.1 | 98.1 | 17
52 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | RDT | current & past infection | IgG; IgM | Overall | 61.5 | 98.1 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit; EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG; IgM | Early (~1-7) | 40.7 | 89.8 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit; EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG; IgM | Intermediate (~8-14) | 84.5 | 89.8 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit; EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG; IgM | Late (>14) | 84.4 | 89.8 | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit; EDI? Novel Coronavirus COVID-19 IgG ELISA Kit | Epitope Diagnostics | ELISA | current & past infection | IgG; IgM | Overall | 75.4 | 89.8 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgM | Early (~1-7) | 29.2 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgM | Intermediate (~8-14) | 72.7 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgM | Late (>14) | 77.4 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgM | Overall | 65.3 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG | Early (~1-7) | 29.2 | 96 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG | Intermediate (~8-14) | 71.2 | 96 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG | Late (>14) | 74.2 | 96 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG | Overall | 63.6 | 96 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG; IgM | Early (~1-7) | 29.2 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG; IgM | Intermediate (~8-14) | 72.7 | 94.9 | 17
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | RDT | current & past infection | IgG; IgM | Late (>14) | 77.4 | 94.9 | 17
52 | SARS-CoV-2 Antibody Test (Lateral Flow Method) | Guangzhou Wondfo Biotech | RDT | current & past infection | IgG; IgM | Overall | 69 | 99.1 | 17
7 | IgG/IgM ELISA kit | Zhuhai Livzon Diagnostics | ELISA | current infection | IgG | Overall | 70.8 |  | 2
7 | IgG/IgM ELISA kit | Zhuhai Livzon Diagnostics | ELISA | current infection | IgM | Overall | 87.5 | 100 | 2
53 | COVID-19 IgG ELISA | Mologic Ltd | ELISA | n/a | IgG | Overall | 88.1 | 97.3 | 18
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgM | Early (~1-7) | 27.8 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgM | Intermediate (~8-14) | 48 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgM | Late (>14) | 95.8 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgM | Overall | 43.2 | 97.9 | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG; IgM | Early (~1-7) | 27.8 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG; IgM | Intermediate (~8-14) | 48 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG; IgM | Late (>14) | 95.8 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG; IgM | Overall | 43.2 | 100 | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG | Early (~1-7) | 3.3 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG | Intermediate (~8-14) | 8 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG | Late (>14) | 62.5 |  | 19
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | RDT | current infection | IgG | Overall | 14.4 | 100 | 19
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgM | Early (~1-7) | 0 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgM | Intermediate (~8-14) | 12.5 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgM | Late (>14) | 39.1 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgM | Overall | 21.8 | 76.9 | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG | Early (~1-7) | 12.5 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG | Intermediate (~8-14) | 25 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG | Late (>14) | 69.6 |  | 6
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | RDT | current infection | IgG | Overall | 41.8 | 48.1 | 6
56 | SARS-COV-2 ELISA (IgG) | EUROIMMUN | ELISA |  | IgG | Overall | 90 | 100 | 21
57 | COVID-19 IgG/IgM Rapid Test Cassette | Healgen | RDT |  | IgM | overall | 100 | 100 | 21
57 | COVID-19 IgG/IgM Rapid Test Cassette | Healgen | RDT |  | IgG | overall | 96.7 | 97.5 | 21
58 | COVID-19 IgM-IgG Rapid Test Kit | Biomedomics | RDT |  | IgM | overall | 86.7 | 97.1 | 21
58 | COVID-19 IgM-IgG Rapid Test Kit | Biomedomics | RDT |  | IgG | overall | 73.3 | 100 | 21
59 | COVID-19 Rapid Test | Phamatech | RDT |  | IgM | overall | 26.7 | 97.5 | 21
59 | COVID-19 Rapid Test | Phamatech | RDT |  | IgG | overall | 86.7 | 96.2 | 21
60 | SARS-CoV-2 IgG/IgM Antibody Detection Kit | Tianjin Beroni Biotechnology | RDT |  | IgM | overall | 83.3 | 100 | 21
60 | SARS-CoV-2 IgG/IgM Antibody Detection Kit | Tianjin Beroni Biotechnology | RDT |  | IgG | overall | 30 | 100 | 21
61 | Architect SARS-CoV-2 IgG Assay | Abbott | CLIA |  | IgG | Late (>14) | 97.2 | 100 | 21
62 | Elecsys Anti-SARS-CoV-2 Assay | Roche | CLIA |  | IgG; IgM | Late (>14) | 87.7 | 100 | 21
Referenes:
1. https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7184337/pdf/ciaa344.pdf
2. https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7188146/pdf/ciaa461.pdf
3. https://jcm.asm.org/content/jcm/early/2020/03/27/JCM.00461-20.full.pdf
4. https://www.ijidonline.com/article/S1201-9712(20)30198-3/pdf
5. https://rpmesp.ins.gob.pe/index.php/rpmesp/article/view/5534
6. https://www.medrxiv.org/content/10.1101/2020.04.11.20062158v2.full.pdf
7. https://www.medrxiv.org/content/10.1101/2020.03.04.20030916v2.full.pdf
8. https://onlinelibrary.wiley.com/doi/10.1002/jmv.25800
9. https://www.medrxiv.org/content/10.1101/2020.03.23.20041707v1.full.pdf
10. https://www.medrxiv.org/content/10.1101/2020.03.27.20045153v1.full.pdf
11. https://www.medrxiv.org/content/10.1101/2020.04.03.20052183v1
12. https://www.medrxiv.org/content/10.1101/2020.02.27.20028787v1.full.pdf+html
13. https://onlinelibrary.wiley.com/doi/abs/10.1002/jmv.25727
14. https://www.medrxiv.org/content/10.1101/2020.03.13.20035428v1
15. https://www.medrxiv.org/content/10.1101/2020.04.09.20056325v1.full.pdf
16. https://www.sciencedirect.com/science/article/pii/S0033350620301141
17. https://covidtestingproject.org/
18. https://www.medrxiv.org/content/10.1101/2020.04.29.20082099v1.full.pdf
19. https://www.medrxiv.org/content/10.1101/2020.04.22.20075564v1.full.pdf
20. FindDx reported independent evaluation database [https://www.finddx.org/covid-19/dx-data/]
21. FDA Independent Evaluation of COVID-19 Serological Tests (accessed June 5, 2020). https://open.fda.gov/apis/device/covid19serology/
Note on D1: Abdi Ghaffari: ELISA: enzyme-linked immunosorbent assay CLIA: chemiluminescence immunoassay RDT: rapid diagnostic test ICA: immunochromatographic assay
Note on J1: Abdi Ghaffari: see word document for list of ref.

## test codes
No. | Test Name | Manufacturer | Ref No.
1 | IgG/IgM ELISA kits | Beijing Wantai Biological Pharmacy | 1
2 | Wantai SARS-CoV-2 Ab ELISA | Beijing Wantai Biological Pharmacy | 15
3 | Wantai SARS-CoV-2 IgG ELISA | Beijing Wantai Biological Pharmacy | 9
4 | Wantai SARS-CoV-2 IgM ELISA | Beijing Wantai Biological Pharmacy | 9
5 | Wantai SARS-CoV-2 Ab Rapid Test | Beijing Wantai Biological Pharmacy | 9
6 | CMIA-IgM | Xiamen InnoDx Biotech Co., Ltd. | 9
7 | IgG/IgM ELISA kit | Zhuhai Livzon Diagnostics Inc | 2
8 | 2019-nCoV IgG/IgM Antibody Detection Kit | Zhuhai Lizhu Reagent | 3
9 | SARS-CoV-2 IgM/IgG CLIA kits | Shenzhen Yhlo Biotech | 4
10 | Chemiluminescence detection kit | Shenzhen Yhlo Biotech | 7
11 | 2019-nCoV IgG/IgM Rapid Test Cassette | Zhejang Orient Gene Biotech | 5
12 | STANDARD Q COVID-19 IgM/IgG Duo Test | SD BIOSENSOR, Inc. | 20
13 | MAGLUMI 2019-nCoV IgM (CLIA) | Snibe Co. | 20
14 | COVID-19 IgG/IgM Combo Rapid Test Device | Liming Bio-Products | 20
15 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | 6
16 | Cellex qSARS-CoV-2 IgGIgM Cassette Rapid Test | Cellex | 20
17 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Shanghai Kehua Bio-engineering | 20
18 | COVID-19 rapid test | PRIMA Lab S.A. | 20
19 | COVID-19 ELISA IgG | DIA PRO Diagnostic BioProbes | 20
20 | COVID-19 ELISA IgG | Epitope Diagnostics | 20
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | 8
22 | Coronavirus IgG/IgM antibody GICA kit | Zhuhai Livzon Diagnostics | 9
23 | SARS-CoV-2 ELISA | Darui Biotech | 10
24 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | 20
25 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | 20
26 | 2019-nCoV IgG/IgM Rapid Test | Dynamiker Biotechnology | 20
27 | Novel Coronavirus IgG/IgM antibody ELISA kit | Zhuhai Livzon Diagnostics | 12
28 | Novel Coronavirus (2019- nCoV) IgM/IgG Antibody Test Kit | Zhuhai Livzon Diagnostics | 14
21 | VivaDiag COVID-19 IgM/IgG Rapid Test | VivaChek Biotech | 8
29 | Anti-SARS-CoV-2 ELISA (IgG) (manual, automated) | EUROIMMUN AG | 15
30 | OnSite COVID-19 IgG/IgM Rapid Test | CTK Biotech, Inc. | 15
31 | Anti-SARS-CoV-2 Rapid Test | AutoBio Diagnostics | 15
No. | Test Name | Manufacturer | Ref No.
32 | Coronavirus Diseases 2019 (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | 15
33 | NG-Test IgM-IgG COVID All-in-One lateral flow immunoassay | NG Biotech | 20
34 | Covid-19 IgG/IgM Antibody Test | Biomerica | 20
35 | Acro Biotech COVID-19 Rapid POC test | Acro Biotech | 20
36 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | InTec Products | 20
37 | DiagnoSure COVID-19 IgG/IgM rapid test cassette | GritOverseas Pte. | 20
38 | Diagnostic kit IgM/IgG of Novel Coronavirus COVID-19 | Shanghai LiangRun, Biomedicine Tech | 20
39 | COVID-19 IgG/IgM Rapid Test Cassette (Whole Blood/Serum/Plasma) | Orient Gene / Healgen | 20
40 | COVID-19 rapid test | PharmaAct AG | 16
41 | Rapid SARS-CoV-2 Antibody (IgM/IgG) | AMEDA Labordiagnostik GmbH | 20
42 | SARS-CoV-2 IgM/IgG Ab Rapid Test | Sure Bio-Tech (USA) | 17
43 | COVID-19 IgM-IgG Dual Antibody Rapid Test | BioMedomics | 17
44 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | 17
45 | SARS-CoV-2 rapid IgG-IgM Viva-DiagTM Test combined antibody test | Jiangsu Medomics Medical Technologies | 11
46 | COVID-19 (SARS-CoV-2) IgG/IgM Antibody Test Kit (Colloidal Gold) | DeepBlue Medical Technology | 17
47 | Novel Coronavirus (SARSCoV-2) IgM/IgG Combo Rapid Test-Cassette | Decombio Biotechnology | 17
48 | Novel Coronavirus (2019-nCoV) Ab Test (Colloidal Gold) | Innovita Biological Technology | 17
49 | COVID-19 IgG/IgM Rapid Test Cassette | Premier Biotech | 17
50 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | 17
51 | EDI? Novel Coronavirus COVID-19 IgM ELISA Kit | Epitope Diagnostics | 17
52 | Coronavirus IgG/IgM Antibody (COVID-19) Test Cassette | UCP Biosciences | 17
53 | COVID-19 IgG ELISA | Mologic Ltd | 18
54 | One Step Novel Coronavirus (COVID-19) IgM/IgG Antibody Test | Artron Laboratories | 19
55 | AllTest COV-19 IgG / IgM kit | AllTest Biotech | 6
56 | SARS-COV-2 ELISA (IgG) | EUROIMMUN | 21
57 | COVID-19 IgG/IgM Rapid Test Cassette | Healgen | 21
58 | COVID-19 IgM-IgG Rapid Test Kit | Biomedomics | 21
59 | COVID-19 Rapid Test | Phamatech | 21
60 | SARS-CoV-2 IgG/IgM Antibody Detection Kit | Tianjin Beroni Biotechnology | 21
61 | Architect SARS-CoV-2 IgG Assay | Abbott | 21
62 | Elecsys Anti-SARS-CoV-2 Assay | Roche | 21