Supplementary Table S2

| Pathogen/Control | Duplex 1 |  | Duplex 2 |  | Duplex 3 |  | Triplex |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PEDV N | PEDV S | TGEV N | PEDV S | TGEV S | PEDV S | PDCoV RdRp | TGEV N | PEDV N |
| Teschovirus | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Sapelovirus, TSV8 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Enterovirus G | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Porcine circovirus 2 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Hepatitis E virus | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| E. coli, STb/LT | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| E. coli, STb | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| E. coli, STa/STb/LT | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| E. coli, O8 stx2e | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| E. coli, O8 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| S. choleraesuis /S. enterica | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Cl. difficile | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Cl. perfringens | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| B. pilosicoli | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| B. hyodysenteriea | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Rotavirus A, GF3 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Rotavirus B, sample 1 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Rotavirus B, sample 2 | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Rotavirus C | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| Rotavirus A/B/C/H | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| No template control | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct | No Ct |
| TGEV Purdue isolate 10-3 | No Ct | No Ct | 26.9 | No Ct | 27.1 | No Ct |  |  |  |
| PEDV CV777 isolate 10-1 | 28.2 | 28.1 | No Ct | 27.9 | No Ct | 28.1 |  |  |  |
| SeCoV S and N 104 copies/µl | No Ct | 26.2 | 24.1 | 26.1 | No Ct | 26.1 |  |  |  |
| PDCoV 106 copies/µl |  |  |  |  |  |  | 25.9 | No Ct | No Ct |
| TGEV N 105 copies/µl |  |  |  |  |  |  | No Ct | 24.1 | No Ct |
| PEDV N 105 copies/µl |  |  |  |  |  |  | No Ct | No Ct | 25.2 |

Specificity panel and results from testing in the three separate duplex assays and in the triplex assay. The samples included in the panel consisted of twenty pathogens other than PEDV, TGEV and SeCoV. The samples and the controls were tested on a single occasion. None of the samples were found positive apart from controls, when these were tested with the appropriate assays. Testing results that did not give Ct-values are indicated with grey shading.