Supplementary Table: 1

Antigen details used for specificity study

| Antigen details | Batch. no. | Source | Storage(°C) |
| --- | --- | --- | --- |
| Wuhan variant virus (Working stock) | 14141D001 | In-House | -196 or below |
| CRM197 protein | IHWS/0.4mg/ml CRM/20/01 | In-House | -20 |

Blank human serum details

| Details | Batch. no. | Product No. | Source | Storage |
| --- | --- | --- | --- | --- |
| Blank human serum | 0000083106 | S5393 | Sigma | 2-8° C. |

Supplementary Table 2:  Values of Reference Standard 1 in MSD Arbitrary units (AU/ml).

| Antigens | CAL-01 | CAL-02 | CAL-03 | CAL-04 | CAL-05 | CAL-06 | CAL-07 | CAL-08 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W-S | 72 | 18 | 4.5 | 1.13 | 0.281 | 0.0703 | 0.0176 | 0 |
| SA-RBD (B.1.351) | 4.4 | 1.1 | 0.275 | 0.0688 | 0.0172 | 0.0043 | 0.00107 | 0 |
| W-N | 70 | 17.5 | 4.38 | 1.09 | 0.273 | 0.0684 | 0.0171 | 0 |
| Br-RBD (P.1) | 7.0 | 1.75 | 0.438 | 0.109 | 0.0273 | 0.00684 | 0.00171 | 0 |
| UK-RBD (B.1.1.7) | 18 | 4.5 | 1.13 | 0.281 | 0.0703 | 0.0176 | 0.00439 | 0 |
| Br-S (P.1) | 29 | 7.25 | 1.81 | 0.453 | 0.113 | 0.0283 | 0.00708 | 0 |
| UK-S (B.1.1.7) | 44 | 11 | 2.75 | 0.688 | 0.172 | 0.043 | 0.0107 | 0 |
| SA-S (B.1.351) | 25 | 6.25 | 1.56 | 0.391 | 0.0977 | 0.0244 | 0.0061 | 0 |
| W-RBD | 29 | 7.25 | 1.81 | 0.453 | 0.113 | 0.0283 | 0.00708 | 0 |

W-N, Wuhan Nucleocapsid; W-RBD, Wuhan receptor binding domain (RBD); W-S, Wuhan Spike (S); Br-RBD [P.1], Brazil RBD; Br-S [P.1], Brazil S; UK-RBD [B.1.1.7], United Kingdom RBD; UK-S [B.1.1.7], United Kingdom S; SA-RBD [B.1.351], South Africa RBD; SA-S [B.1.351] South Africa S.

Supplementary Table 3: Assigned values (AU/ml) for sera panel

| Sample ID | W-N | W-S | W-RBD | UK-S [B.1.1.7] | UK-RBD [B.1.1.7] | SA-S [B.1.351] | SA-RBD [B.1.351] | Br-S [P.1] | Br-RBD [P.1] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample 1 | 7962 | 47192 | 15314 | 42996 | 15076 | 25790 | 3978 | 26232 | 6513 |
| Sample 2 | 206 | 2740 | 878 | 1794 | 953 | 1474 | 637 | 1562 | 737 |
| Sample 3 | 11168 | 35902 | 10717 | 34240 | 8799 | 10131 | 4247 | 19532 | 7065 |
| Sample 4 | 974 | 2960 | 1207 | 2267 | 1257 | 2125 | 801 | 1970 | 1144 |
| Sample 5 | 93756 | 493127 | 236403 | 482255 | 263854 | 351300 | 174488 | 357748 | 250290 |
| Sample 6 | 40675 | 52522 | 21619 | 48303 | 21832 | 50230 | 14690 | 34269 | 17854 |
| Sample 7 | 4896 | 3297 | 790 | 2334 | 694 | 1882 | 233 | 2961 | 352 |
| Sample 8 | 45344 | 27350 | 7971 | 17918 | 5658 | 9616 | 2155 | 11526 | 3381 |
| Sample 9 | 130339 | 94318 | 21859 | 79280 | 20147 | 61017 | 5195 | 58047 | 9520 |

W-N, Wuhan Nucleocapsid; W-RBD, Wuhan receptor binding domain (RBD); W-S, Wuhan Spike (S); Br-RBD [P.1], Brazil RBD; Br-S [P.1], Brazil S; UK-RBD [B.1.1.7], United Kingdom RBD; UK-S [B.1.1.7], United Kingdom S; SA-RBD [B.1.351], South Africa RBD; SA-S [B.1.351] South Africa S.