PM2.5 potential indoor exposures and outdoor concentrations related to smoking prevalence by Zip code in three West Coast states

Supplementary Information

Lance Wallace

1/14/2024

Calibration of PurpleAir PM2.5 measurements against indoor air PM2.5 concentrations due to vaping marijuana [1].

Figure S1.  Calibration of indoor PurpleAir monitors based on 47 experiments vaping marijuana in a single room of a home [1]. Regression (forced through zero) of PurpleAir source strength estimates (mg/puff) on collocated research-grade SidePak estimates.  The SidePaks were calibrated separately using gravimetric measurements and found to have a measured calibration factor (CF) of 0.44 [2]. The resulting PurpleAir calibration factor was 2.93.

References

- L. Wallace, W. Ott, T. Zhao, K-C. Cheng, L. Hildemann, 2020. Secondhand exposure from vaping marijuana:  Concentrations, emissions, and exposures determined using both research-grade and low-cost monitors, Atmospheric Environment X, https://doi.org/10.1016/j.aeaoa.2020.100093. Accessed Jan 3, 2024

- T. Zhao, K-C. Cheng, W.R. Ott, L.A. Wallace, L. Hildemann, 2020. Characteristics of secondhand cannabis smoke from common smoking methods: calibration factor, emission rate, and particle removal rate.  Atmospheric Environment.  https://doi.org/10.1016/j.atmosenv.2020.117731. Accessed Jan 3, 2024.