Supplementary Figure1. High resolution ion chromatogram obtained for the m/z value (± 10 ppm) of 4-HPR and its main metabolites in a tumor sample.

Supplementary Figure2. MS/MS spectra of 4-HPR and its identified metabolites, highlighting some of the observed ion fragments.

Supplementary Table1: Comparison of the characteristics of the current method with others present in the literature

|  | Matrices analyzed | Analytes analyzed | Common features | Differences | LOQ in plasma | Improvements |
| --- | --- | --- | --- | --- | --- | --- |
| F. Formelli et al., 1993 [12] | Plasma Breast tissue | 4-HPR 4-MPR | - Handling procedures. - Chromatographic characteristics: reverse column, gradient features and run time below 10 min. | - Extractive solvent: CH3CN - HPLC-UV (λ= 340) - 3 points calibration plasma range: 5-2500 ng/mL. | 5 ng/ml | - Wider range of linearity applied reduces the need for dilutions. - The simultaneous measurement of the analyte and the metabolites allowed a more thorough analysis of the pharmacokinetic characteristics and limited the amount of matrix needed. |
| J. Vratilova et al., 2004 [13] | Tumour | 4-HPR 4-MPR |  | - Extractive solvent: CH3CN - HPLC-UV (λ= 340). - 6 points calibration tumor range: 0.5-20 µg/mL. | 0.5 µg/mL. |  |
| J. I. Lee et al., 2008 [10] | Plasma | 4-HPR 4-MPR |  | - Extractive solvent: CH3CN - HPLC-APCI-MS/MS. MRM + - 8 points calibration plasma range: 0.5-100 ng/mL. - Target ions m/z 392.4/283.3 for 4-HPR and m/z 406.3/283.2 for 4-MPR. | 0.5 ng/ml |  |
| H.E. Cho et al., 2017 [14] | Plasma | 4-HPR 4-MPR 4-oxo-4-HPR |  | - Extractive solvent: CH3CH2OH - HPLC-ESI-QTRAP. MRM + - 8 points calibration plasma range: 0.2-50.0 ng/mL. - Target ions m/z 392.3/283.3 for 4-HPR, m/z 406.3/283.2 for 4-MPR and 406.3/297.2 for 4-oxo-4-HPR. | 0.2 ng/ml |  |
| Present method | Plasma Tumour | 4-HPR 4-MPR 4-oxo-4-HPR DH-4-HPR |  | - Extractive solvent: CH3CN - HPLC-APCI-MS/MS. MRM + - 8 points calibration plasma range: 1-500 ng/mL. - 6 points calibration tumour range: 0.35-14.0 µg/g. - Target ions m/z 392.4/283.3 for 4-HPR, m/z 406.3/283.2 for 4-MPR and m/z 390.2/281.1 for DH-4-HPR. | 1.0 ng/ml |  |