Self-aligned Interdigitated Transducers for Acoustofluidics

Electronic Supplementary Material

Zhichao Ma1†, Adrian J.T. Teo2†, Say Hwa Tan2*, Ye Ai1* and Nam-Trung Nguyen2*

1 Pillar of Engineering Product Development, Singapore University of Technology and Design, Singapore 487372, Singapore. Email: aiye@sutd.edu.sg
2 Queensland Micro and Nanotechnology Centre, Griffith University, Brisbane, Queensland 4111, Australia
* Email: sayhwa.tan@griffith.edu.au, nam-trung.nguyen@griffith.edu.au
† Zhichao Ma and Adrian J.T. Teo contributed equally to this work.

* Corresponding authors

Say Hwa Tan, Email: sayhwa.tan@griffith.edu.au; Tel: (+61) 07373 55034

Ye Ai, Email: aiye@sutd.edu.sg; Tel: (+65) 6499 4553

Nam-Trung Nguyen, Email: nam-trung.nguyen@griffith.edu.au;

Tel: (+61) 0737353921

Supplementary figure S1

A schematic diagram of the fabrication process.

Supplementary figure S2

A figure of the traveling SAW induced sessile droplet streaming experiment.

Supplementary video S3

A video of the traveling SAW induced sessile droplet streaming experiment. The video is recorded with a high speed camera at a frame rate of 2000 frames per second and played at 20 frames per second.

Supplementary figure S4

A figure of the traveling SAW induced sessile droplet streaming experiment at multiple resonant frequencies.

Supplementary video S5

A video of the size-based particle separation in a SSAW field.

Supplementary video S6

A video of the traveling SAW effects in a microfluidic flow focusing system. At 42 and 51.3 MHz, the size of the droplets produced increases at fixed volumetric flow rates. The input voltages are fixed at 50.8 Vpp. The video is recorded at 2000 frames per second and played at 200 frames per second.

Figure S1 A schematic diagram of the fabrication process.

Figure S2 Traveling surface acoustic wave (TSAW) based droplet streaming experiment. A 0.5 μl droplet with 1 μm fluorescent particle suspension is placed in the direction of the traveling SAW generated from the infused interdigital transducers (IDTs). The uneven acoustic pressure distribution induces a streaming vortex within the droplet. Simultaneously, the incident acoustic waves interfere with the reflected acoustic waves from the droplet/air interface, thus forming a standing acoustic field within the droplet. Some of the suspended particles are aggregated to the pressure nodes into a complex pattern. The video of the particle movement and streaming flow pattern in the droplet is shown in the supplementary video S3.

Figure S4 Droplet streaming at different resonance frequencies. 0.5 µl droplets loaded with 0.02% volume ratio of fluorescent particles (PSF001UM, Magsphere) were pipetted and placed at about 7 mm away from the IDT. Complex standing waves formation and flow patterns were observed at different resonance frequencies. Temperature measurements at various locations show negligible increase when the voltage is fixed at 50.8 Vpp.