## CRISPR-CAS METHODS_SARS-COV-2
| GENERAL | [5 empty] | EXPERIMENTAL OUTPUTS | [8 empty] | STEP 1 | SAMPLE COLLECTION |  | STEP 2 RNA PREPARATION | STEP 3 | ISOTHERMAL AMPLIFICATION | [5 empty] | STEP 4 | CRISPR-CAS DETECTION |  |  |  |  | STEP 5 | READ-OUT |  |  |  | EVALUATIONS
RANK | Title of the Reference | Name of Method | Acronym | CRISPR-Cas | Isothermal Method | Read-Out | Total time (min) | LoD (c/rx) | Vol Rx Cas (uL) | LoD (c/uL) | Specificity (%) | Sensitivity (%) | Num Clin Samp Tot | Num Positive Samples | Num Negative Samples | Clinical samples? | Clinical Sample | Used samples | RNA Preparation method | Targeted gene(s) | Isothermal Method | Origin components | Fabrication | Temp (°C) | Time (min) | One-pot | CRISPR-Cas | Temp (°C) | Time (min) | Cas Concentr (nM) | gRNA Concentr (nM) | RNP ratio | Read-Out | Probe(s) | Probe Conc (nM) | One-pot | Portable/Lab-based | Rank Total Time | Total Time % | Rank LoD | LoD % | Rank Specificity | Specificity % | Rank Sensitivity | Sensitivity % | Total % | Final RANK
1 | Digital CRISPR/Cas-Assisted Assay for Rapid and Sensitive Detection of SARS-CoV-2 | Digitization-Enhanced CRISPR/Cas-Assisted One-Pot Virus detection | deCOViD | LbCas12a | RT-RPA | Fluorescence | 15 | 15 | 15 | 1 | 100 | 100 | 4 | 2 | 2 | Yes | Nasopharyngeal swabs | Nasopharyngeal swabs. Synthetic RNA | release | ORF 1ab, E, N | RT-RPA | Commercial | TwistDx | 42 | 15 | Yes | LbCas12a | RT | 15 | 640 | 640 | 1 | Fluorescence | Alex647N-TTATT-IAbRQSp | 4000 | Yes | Portable | 13 | 100 | 15 | 71.4286 | 10 | 100 | 13 | 100 | 371.4286 | 1
2 | Development and evaluation of a rapid CRISPR-based diagnostic for COVID-19 | CRISPR-based Diagnostic for COVID-19 | CRISPR-COVID | Cas13a | RT-RPA | Fluorescence | 40 | 2.5 | 25 | 0.1 | 100 | 100 | 114 | 61 | 53 | Yes | Nasopharyngeal swab and bronchoalveolar lavage fluid specimen | Nasopharyngeal swab and bronchoalveolar lavage fluid specimen. Synthetic DNA. | extraction | Orf1ab, N | RT-RPA | NR | NR | 42 | 30 | Not | Cas13a | 42 | 10 | 66.7 | 33.3 | 2.003 | Fluorescence | 5´-6-FAM-UUUUUC-BHQ | 166 | Not | Lab | 6 | 46.1538 | 20 | 95.2381 | 10 | 100 | 13 | 100 | 341.3919 | 2
3 | Ultrasensitive and visual detection of SARS-CoV-2 using all-in-one dual CRISPR-Cas12a assay | All-In-One Dual CRISPR-Cas12a Assay | AIOD-CRISPR | LbCas12a | RT-RPA | Fluorescence | 40 | 5 | 25 | 0.2 | 100 | 100 | 28 | 8 | 20 | Yes | Nasopharyngeal swabs | Synt DNA, clinical swab samples (28 tot, 8+) | extraction | N (28857-28977) 121bp | RT-RPA | Commercial | TwistDx | 37 | 40 | Yes | LbCas12a | 37 | 40 | 76.8 | 38.4 | 2 | Fluorescence | 5′-6-FAM-TTATT-Iowa Black | 400 | Yes | Portable | 6 | 46.1538 | 18 | 85.7143 | 10 | 100 | 13 | 100 | 331.8681 | 3
4 | Fluorescence polarization system for rapid COVID-19 diagnosis | CRISPR Optical Detection of Anisotropy | CODA | LbCas12a | RT-RPA | Fluorescence anisotropy | 20 | 150 | 50 | 3 | 100 | 100 | 20 | 10 | 10 | Yes | Nasopharyngeal swabs | Synt RNA, RNA extrated from patient swab samples | extraction | N1, N2, RP30 (internal control) | RT-RPA | Commercial | Bioneer | 42 | 20 | Yes | LbCas12a | 42 | 20 | 640 | 160 | 4 | Fluorescence anisotropy | FAM-TATTATTAT (fluorescence anisotropy detected, not quencher needed) | 100 | Yes | Portable | 12 | 92.3077 | 7 | 33.3333 | 10 | 100 | 13 | 100 | 325.641 | 4
5 | opvCRISPR- One-pot visual RT-LAMP-CRISPR platform for SARS-cov-2 detection | One-Pot Visual RT-LAMP-CRISPR | opvCRISPR | LbCas12a | RT-LAMP | Fluorescence | 45 | 5 | 60 | 0.08 | 100 | 100 | 26 | NR | NR | Yes | Nasopharyngeal swabs | RNA Nasopharyngeal swab samples | NR | N, S, | RT-LAMP | Commercial | NEB | 65 | 40 | Not | LbCas12a | 37 | 5 | 200 | 600 | 0.33333 | Fluorescence | NR | 2000 | Not | Lab | 5 | 38.4615 | 18 | 85.7143 | 10 | 100 | 13 | 100 | 324.1758 | 5
6 | Rapid, Ultrasensitive, and Highly Specific Diagnosis of COVID-19 by CRISPR-Based Detection | Multiple Cross Displacement Amplification with CRISPR-Cas12a-based Detection | COVID-19 MCCD | LbCas12a | RT-MCDA | Lateral Flow Strip | 45 | 7 | 20 | 0.35 | 100 | 100 | 114 | 37 | 77 | Yes | respiratory swab samples | NP swab samples | NR | ORF1ab, N | RT-MCDA | Commercial | HuiDeXing Biotech | 63 | 35 | Not | LbCas12a | 37 | 5 | 75 | 100 | 0.75 | Lateral Flow Strip | 5’-FAM-TTATTATTATT-BHQ−3′ | 10000 | Not | Portable | 5 | 38.4615 | 17 | 80.9524 | 10 | 100 | 13 | 100 | 319.4139 | 6
7 | Rapid and sensitive detection of COVID-19 using CRISPR/Cas12a-based detection with naked eye readout, CRISPR/Cas12a-NER | CRISPR/Cas12a-based Detection with Naked Eye Readout | CRISPR/Cas12a-NER | LbCas12a | RT-RAA | Fluorescence | 45 | 10 | 20 | 0.5 | 100 | 100 | 31 | 16 | 15 | Yes | Nasopharyngeal swab | Synt RNA and RNA extracted NP swabs | extraction | orf1a, orf1b, N, E | RT-RAA | Commercial | Qitian Biological Co., Ltd., Jiangsu, China | 39 | 30 | Not | LbCas12a | 37 | 15 | 70 | 1000 | 0.07 | Fluorescence | NR | 0.025 (suspect is pmol, not pM) | Not | Portable | 5 | 38.4615 | 16 | 76.1905 | 10 | 100 | 13 | 100 | 314.652 | 7
8 | Contamination-free visual detection of SARS-CoV-2 with CRISPR/Cas12a- A promising method in the point-of-care detection | NA | NA | LbCas12a | RT-LAMP | Fluorescence | 45 | 20 | 45 | 0.45 | 100 | 100 | 10 | 7 | 3 | Yes | respiratory swabs | Synt RNA, RNA extrated from patient respiratory swab samples (7+, 3-) | NR | ORF, N, E | RT-LAMP | Commercial | NEB | 65 | 40 | Not | LbCas12a | 37 | 5 | 88.8 | 266 | 0.33383 | Fluorescence | 5′-6FAM 3′ -BHQ1 | 2500 | Not | Portable | 5 | 38.4615 | 14 | 66.6667 | 10 | 100 | 13 | 100 | 305.1282 | 8
9 | Autonomous lab-on-paper for multiplexed, CRISPR-based diagnostics of SARS-CoV-2 | Autonomous lab-on-paper platform | NA | LbCas12a | RT-RPA | Fluorescence | 40 | 100 | 25 | 4 | 100 | 100 | 21 | 8 | 13 | Yes | Nasopharyngeal swabs | swab clinical samples (tot 21, 8+) | extraction | N, S, RNAse P (internal control) | RT-RPA | Commercial | TwistDx | 37 | 15 | Not | LbCas12a | 37 | 25 | 100 | 62.5 | 1.6 | Fluorescence | NR | 50 | Not | Portable | 6 | 46.1538 | 10 | 47.619 | 10 | 100 | 13 | 100 | 293.7729 | 9
10 | Point-of-care testing for COVID-19 using SHERLOCK diagnostics | SHERLOCK Testing in One Pot | STOPCovid | AapCas12b | RT-LAMP | Fluorescence / Lateral Flow Strip | 40 | 100 | 50 | 2 | 100 | 100 | 17 | 12 | 5 | Yes | Nasopharyngeal swabs | Nasopharyngeal extracts | release | N | RT-LAMP | Commercial | NEB | 60 | 40 | Yes | AapCas12b | 70 | 40 | 500 | 500 | 1 | Fluorescence / Lateral Flow Strip | /56-FAM/TTTTTTT/3Biotin/ | 125 | Yes | Portable | 6 | 46.1538 | 10 | 47.619 | 10 | 100 | 13 | 100 | 293.7729 | 10
11 | iSCAN- An RT-LAMP-coupled CRISPR-Cas12 module for rapid, sensitive detection of SARS-CoV-2 | in vitro Specific CRISPR-based Assay for Nucleic Acids Detection | iSCAN | LbCas12a, AacCas12b, AapCas12b | RT-LAMP | Fluorescence / Lateral Flow Strip | 60 | 10 | 55 | 0.18 | 100 | 100 | 7 | 5 | 2 | Yes | Nasopharyngeal swabs | Synthetic RNA and RNA samples extracted from nasopharyngeal swabs | extraction | N, E | RT-LAMP | Made by them | Made by them | 62 | 60 | Yes | LbCas12a, AacCas12b, AapCas12b | 62 | 60 | 250 | 250 | 1 | Fluorescence / Lateral Flow Strip | 5′-​/56-FAM/TTATT/3IABKFQ/​-3′​ | 500 | Yes | Portable | 2 | 15.3846 | 16 | 76.1905 | 10 | 100 | 13 | 100 | 291.5751 | 11
12 | MeCas12a, a Highly Sensitive and Specific System for COVID-19 Detection | Manganese-enhanced Cas12a | MeCas12a | LbCas12a, AsCas12a | RT-RAA | Fluorescence | 45 | 100 | 20 | 5 | 100 | 100 | 24 | 13 | 11 | Yes | Nasopharyngeal swabs | RNA Nasopharyngeal swab and saliva samples | extraction | E, N | RT-RAA | Commercial | Qitian Biological Co., Ltd., Jiangsu, China | 39 | 30 | Not | LbCas12a, AsCas12a | 37 | 15 | 70 | 1000 | 0.07 | Fluorescence | NR | 0.025 (suspect is pmol, not pM) | Not | Lab | 5 | 38.4615 | 10 | 47.619 | 10 | 100 | 13 | 100 | 286.0806 | 12
13 | Vigilant- An Engineered VirD2-Cas9 Complex for Lateral Flow Assay-Based Detection of SARS-CoV2 | VirD2-dCas9 Guided and LFA-coupled Nucleic Acid Test | VIGILANT | SpCas9 | RT-RPA | Lateral Flow Strip | 36 | 112 | 45 | 2.5 | 100 | 96.4 | 60 | 56 | 4 | Yes | patient samples | synthetic SARS-CoV2 RNA, RNA from patient samples (26+, 4-) | extraction | N | RT-RPA | Commercial | TwistDx | 42 | 25 | Not | SpCas9 | 37 & 60 | 11 | 250 | 250 | 1 | Lateral Flow Strip | NR | NA | Not | Portable | 7 | 53.8462 | 9 | 42.8571 | 10 | 100 | 11 | 84.6154 | 281.3187 | 13
14 | Clinical validation of a Cas13-based assay for the detection of SARS-CoV-2 RNA | SHERLOCK | SHERLOCK | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 55 | 42 | 34.37 | 2.2 | 100 | 100 | 534 | 81 | 380 | Yes | Nasopharyngeal and throat swab samples, RNA from pre-operative samples from patients undergoing surgery | nasopharyngeal and throat swab samples (tot 154), RNA from pre-operative samples from patients undergoing surgery (380) | extraction | S, N, Orf1ab | RT-RPA | Commercial | TwistDx | 42 | 25 | Not | LwaCas13a | 37 | 30 | 46.5 | 28.3 | 1.6431 | Fluorescence / Lateral Flow Strip | Fluorescein-Biotin | 1060 | Not | Portable | 3 | 23.0769 | 12 | 57.1429 | 10 | 100 | 13 | 100 | 280.2198 | 14
15 | Intrinsic signal amplification by type III CRISPR-Cas systems provides a sequence-specific SARS-CoV-2 diagnostic | CRISPR-Csm-based Detection of SARS-CoV-2 | NA | Cas10 | RT-LAMP | Fluorescence / colorimetric | 30 | 5000 | 25 | 200 | 100 | 100 | 56 | 46 | 10 | Yes | Nasopharyngeal swabs | RNA samples extracted from nasopharyngeal swabs | extraction | N1, ORF3 | RT-LAMP | Commercial | NEB | 65 | 29 | Not | Cas10 | 55 | 1 | 200 | 200 | 1 | Fluorescence / colorimetric | 56-FAM-rCrUrCrUrCrU-3IABkFQ | 500 | Not | Lab | 9 | 69.2308 | 1 | 4.7619 | 10 | 100 | 13 | 100 | 273.9927 | 15
16 | Electric field-driven microfluidics for rapid CRISPR-based diagnostics and its application to detection of SARS-CoV-2 | Isotachophoresis-mediated CRISPR–Cas12 DNA Detection | ITP-CRISPR assay | LbCas12a | RT-LAMP | Fluorescence | 25 | 200 | 20 | 10 | 100 | 93.8 | 64 | NR | NR | Yes | Nasopharyngeal swabs | Nasopharyngeal swab | extraction | N, E, RNase P (control) | RT-LAMP | Commercial | NEB | 62 | 20 | Not | LbCas12a | 37 | 5 | 100 | 125 | 0.8 | Fluorescence | 56-FAM-TTATT-IABkFQ | 250 | Not | Lab | 11 | 84.6154 | 6 | 28.5714 | 10 | 100 | 7 | 53.8462 | 267.033 | 16
17 | A Saliva-Based RNA Extraction-Free Workflow Integrated With Cas13a for SARS-CoV-2 Detection | Cas13 Assisted Saliva-based & Smartphone Integrated Testing | CASSPIT | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 45 | 100 | 20 | 5 | 100 | 95.7 | 76 | 47 | 29 | Yes | Saliva | Synthetic DNA & RNA, RNA spiked in saliva, Saliva clinical samples (Tot105, 76+, 29-) | release | S, N, ORF1ab | RT-RPA | Commercial | TwistDx | 42 | 25 | Not | LwaCas13a | 37 | 20 | 2.2 | NR | NR | Fluorescence / Lateral Flow Strip |  | 1000 | Not | Portable | 5 | 38.4615 | 10 | 47.619 | 10 | 100 | 10 | 76.9231 | 263.0037 | 17
18 | An engineered CRISPR-Cas12a variant and DNA-RNA hybrid guides enable robust and rapid COVID-19 testing | Variant Nucleotide Guard | VaNGuard | LbCas12a / AsCas12a / enAsCas12a (clin) | RT-LAMP | Fluorescence / Lateral Flow Strip | 27 | 50 | 75 | 2 | 100 | 82 | 129 | 72 | 57 | Yes | Nasopharyngeal swabs | Synthetic DNA/ Synthetic RNA / inactivated SARS-CoV2 / Patient nasopharyngeal swab samples(Tot129, 72+, 57-) | extraction / release | ORF1AB, S, and N | RT-LAMP | Commercial | NEB | 65 | 22 | Not | LbCas12a / AsCas12a / enAsCas12a (clin) | 60 | 5 | 65 | NR | NR | Fluorescence / Lateral Flow Strip | Cy5/FAM-Quencher & FITC-biotin | 200 (F) / 90 (LF) | Not | Portable | 10 | 76.9231 | 11 | 52.381 | 10 | 100 | 2 | 15.3846 | 244.6886 | 18
19 | Ultra-sensitive and high-throughput CRISPR-powered COVID-19 diagnosis | CRISPR-powered COVID-19 Diagnosis and CRISPR-based Fluorescent Detection System | CRISPR-FDS | LbCas12a | RT-RPA | Fluorescence | 40 | 5 | 30 | 0.17 | 71.4 | 100 | 29 | 19 | 10 | Yes | nasal swabs | clinical nasal swab samples (29tot, 19+) | extraction | N, Orf1a | RT-RPA | Commercial | TwistDx | 42 | 20 | Not | LbCas12a | 37 | 20 | 33.3 | 30 | 1.11 | Fluorescence | NR | 667 | Not | Lab | 6 | 46.1538 | 18 | 85.7143 | 1 | 10 | 13 | 100 | 241.8681 | 19
20 | Detection and Differentiation of SARS-CoV-2, Influenza, and Respiratory Syncytial Viruses by CRISPR | NA | NA | LbCas12a | RT-RPA | Fluorescence | 45 | 20 | 20 | 1 | 100 | 90 | 22 | 10 | 12 | Yes | Nasopharyngeal swabs | RNA extracted from culture cells and Nasopharyngeal swab | extraction | N | RT-RPA | Commercial | TwistDx | 42 | 15 | Not | LbCas12a | 42 | 30 | 640 | 640 | 1 | Fluorescence | NR | 375 | Not | Lab | 5 | 38.4615 | 14 | 66.6667 | 10 | 100 | 4 | 30.7692 | 235.8974 | 20
21 | Rapid, Sensitive, and Specific Severe Acute Respiratory Syndrome Coronavirus 2 Detection- A Multicenter Comparison Between Standard Quantitative Reverse-Transcriptase Polymerase Chain Reaction and CRISPR-Based DETECTR | DNA Endonuclease Targeted CRISPR Trans Reporter | DETECTR | LbCas12a | RT-LAMP | Fluorescence / Lateral Flow Strip | 35 | 50 | 25 | 2 | 93 | 95.3 | 378 | 155 | 223 | Yes | Nasopharyngeal swabs, broncheoalvealar lavage or sputum swabs | NP swab samples | NR | N | RT-LAMP | Commercial | NEB | 62 | 20 | Not | LbCas12a | 37 | 15 | 50 | 62.5 | 0.8 | Fluorescence / Lateral Flow Strip | NR | 100 (F), 500 (LF) | Not | Portable | 8 | 61.5385 | 11 | 52.381 | 5 | 50 | 9 | 69.2308 | 233.1502 | 21
22 | SARS-CoV-2 Direct Detection Without RNA Isolation With Loop-Mediated Isothermal Amplification (LAMP) and CRISPR-Cas12 | NA | NA | LbCas12a | RT-LAMP | Fluorescence | 50 | 352 | 22 | 16 | 99.4 | 98 | 34 | NR | NR | Yes | nasal swabs and saliva samples | NP swab samples | release | N | RT-LAMP | Commercial | NEB | 65 | 40 | Not | LbCas12a | 37 | 10 | 50 | 62.5 | 0.8 | Fluorescence | Taqman probe: 5′FAM/3′BHQ1 | 500 | Not | Portable | 4 | 30.7692 | 4 | 19.0476 | 9 | 90 | 12 | 92.3077 | 232.1245 | 22
23 | A one-step, one-pot CRISPR nucleic acid detection platform (CRISPR-top)- Application for the diagnosis of COVID-19 | CRISPR-mediated Testing in One-Pot | CRISPR-top | AapCas12b | RT-LAMP | Fluorescence / Lateral Flow Strip | 40 | 10 | 25 | 0.4 | 100 | 73 | 132 | 52 | 80 | Yes | pharyngeal, nasal, anal swabs as well as fecal and sputum | Synt DNA, patient pharyngeal, nasal, anal swabs as well as fecal and sputum samples (Tot52+), 80- pharyngeal swabs samples validate specificity of method | extraction | ORF1ab, N | RT-LAMP | Commercial | HuiDeXin Biotech | 59 | 40 | Yes | AapCas12b | 59 | 40 | 16 | 24 | 0.66667 | Fluorescence / Lateral Flow Strip | FAM-BHQ1 & FAM-Biotin | 2000 | Yes | Portable | 6 | 46.1538 | 16 | 76.1905 | 10 | 100 | 1 | 7.6923 | 230.0366 | 23
24 | Integrated sample inactivation, amplification, and Cas13-based detection of SARS-CoV-2 | SHERLOCK and HUDSON Integration to Navigate Epidemics) | SHINE | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 30 | 200 | 20 | 10 | 100 | 90 | 50 | NR | NR | Yes | Clinical samples | NP swab and saliva samples | release | Orf1ab, N1 (Control) | RT-RPA | Commercial | TwistDx | 37 | 30 | Yes | LwaCas13a | 37 | 30 | 45 | 22.5 | 2 | Fluorescence / Lateral Flow Strip | polyU FAM-Quencher & biotinylated FAM | 62.5 (F) / 1000 (LF) | Yes | Lab | 9 | 69.2308 | 6 | 28.5714 | 10 | 100 | 4 | 30.7692 | 228.5714 | 24
25 | CRISPR–Cas12-based detection of SARS-CoV-2 | DNA Endonuclease Targeted CRISPR Trans Reporter | DETECTR | LbCas12a | RT-LAMP | Fluorescence / Lateral Flow Strip | 40 | 500 | 100 | 100 | 100 | 95 | 83 | 41 | 42 | Yes | naso-oro pharyngeal swabs | Synt RNA and RNA extracted from naso-oro pharyngeal swab samples | extraction | E, N | RT-LAMP | Commercial | NEB | 62 | 30 | Not | LbCas12a | 37 | 10 | 50 | 62.5 | 0.8 | Fluorescence / Lateral Flow Strip | 56-FAM/TTATTATT/3Biotin | 500 | Not | Portable | 6 | 46.1538 | 3 | 14.2857 | 10 | 100 | 8 | 61.5385 | 221.978 | 25
26 | Evaluation of a Lyophilized CRISPR-Cas12 Assay for a Sensitive, Specific, and Rapid Detection of SARS-CoV-2 | Lyophilized CRISPR-Cas12 Assay | Lyo-CRISPR SARS-CoV-2 Kit | LbCas12a | RT-LAMP | Fluorescence | 60 | 300 | 40 | 7.5 | 99.04 | 100 | 210 | 105 | 105 | Yes | Nasopharyngeal swabs | RNA samples extracted from nasopharyngeal swabs | extraction / release | N, RNAse P (internal control) | RT-LAMP | Commercial | CASPR Biotech | 62 | 40 | Not | LbCas12a | 37 | 20 | NR | NR | NR | Fluorescence | NR | NA | Not | Portable | 2 | 15.3846 | 5 | 23.8095 | 8 | 80 | 13 | 100 | 219.1941 | 26
27 | Development of a Broadly Applicable Cas12a-Linked Beam Unlocking Reaction for Sensitive and Specific Detection o f Respiratory Pathogens Including SARS-CoV-2 | Cas12a-linked Beam Unlocking Reaction | CALIBURN | LbCas12a | RT-RPA | Fluorescence | 60 | 2.5 | 20 | 0.25 | 100 | 73 | 18 | 18 | 0 | Yes | Nasal swab, oropharyngeal swab, anal swab, sputum, stool, and sputum supernatant | Nasal swab, oropharyngeal swab, anal swab, sputum, stool, and sputum supernatant | extraction | ORF1ab, S, E, M, N | RT-RPA | Commercial | Qitian Gene Biotech, Wuxi, Jiangsu, China | 42 | 30 | Not | LbCas12a | 37 | 30 | NR | 100 | NR | Fluorescence | FAM-BQ1 | 1250 | Not | Lab | 2 | 15.3846 | 20 | 95.2381 | 10 | 100 | 1 | 7.6923 | 218.315 | 27
28 | Detection of SARS-CoV-2 with SHERLOCK One-Pot Testing | SHERLOCK Testing in One Pot | STOPCovid.v2 | AapCas12b | RT-LAMP | Fluorescence / Lateral Flow Strip | 45 | 33 | 10 | 3.3 | 98.5 | 93.1 | 402 | 202 | 200 | Yes | Nasopharyngeal and anterior nasal swab samples | Nasopharyngeal and anterior nasal swab samples | extraction | ORF1ab, N, S | RT-LAMP | Commercial | NEB | 60 | 45 | Yes | AapCas12b | 60 | 45 | 31.25 | 31.25 | 1 | Fluorescence / Lateral Flow Strip | 56-FAM/TTATTATT/3Biotin & 5′/5HEX/TTTTT/3IABkFQ/3′ | 250 | Yes | Portable | 5 | 38.4615 | 13 | 61.9048 | 7 | 70 | 5 | 38.4615 | 208.8278 | 28
29 | Streamlined inactivation, amplification, and Cas13-based detection of SARS-CoV-2 | Streamlined Highlighting of Infections to Navigate Epidemics | SHINE | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 40 | 200 | 20 | 10 | 100 | 90 | 50 | 30 | 20 | Yes | nasal swabs and saliva | cutivated virus, nasal swab or combined nasal and saliva samples | extraction / release | ORF1a | RT-RPA | Commercial | TwistDx | 41 | 40 | Yes | LwaCas13a | 37 | 40 | 45 | 22.5 | 2 | Fluorescence / Lateral Flow Strip | FAM quenched polyU (6U or 7U ONE-STEP) & FAM-Biotin FAM 1 μM | 125 (F, one-step), 62.5 (F), 1000 (LF) | Yes | Portable | 6 | 46.1538 | 6 | 28.5714 | 10 | 100 | 4 | 30.7692 | 205.4945 | 29
30 | Rapid and Accurate Detection of Novel Coronavirus SARS-CoV-2 Using CRISPR-Cas3 | Cas3-operated Nucleic Acid Detection | CONAN | Cas3 + multiprotein Cas complex (Cascade) from E. coli | RT-LAMP | Fluorescence / Lateral Flow Strip | 40 | 100 | 20 | 5 | 95 | 90 | 25 | 10 | 15 | Yes | Nasopharyngeal and oropharyngeal swabs | Nasopharyngeal and oropharyngeal swabs | extraction | N1, N2 | RT-LAMP | Commercial | NEB | 62 | 30 | Not | Cas3 + multiprotein Cas complex (Cascade) from E. coli | 37 | 10 | 100 | 62.5 | 1.6 | Fluorescence / Lateral Flow Strip | 5'-/5HEX/AAGGTCGGA/ZEN/GTCAACGGATTTGGTC/3IBIFQ/-3' | 250 | Not | Portable | 6 | 46.1538 | 10 | 47.619 | 6 | 60 | 4 | 30.7692 | 184.5421 | 30
31 | Enhancement of trans-cleavage activity of Cas12a with engineered crRNA enables amplified nucleic acid detection | ENHanced Analysis of Nucleic acids with CrRNA Extensions | CRISPR-ENHANCE | LbCas12a | RT-LAMP | Fluorescence / Lateral Flow Strip | 35 | 3 | 50 | 0.06 | NA | NA | NA | NA | NA | Not | NA | Synthetic dsDNA | NA | N | RT-LAMP | Commercial | NEB | 63 | 20 | Not | LbCas12a | 25 | 15 | 60 | 120 | 0.5 | Fluorescence / Lateral Flow Strip | FAM-3IABkFQ | 500 | Not | Portable | 8 | 61.5385 | 19 | 90.4762 | 0 | 0 | 0 | 0 | 152.0147 | 31
32 | Sensitive quantitative detection of SARS-CoV-2 in clinical samples using digital warm-start CRISPR assay | Digital Warm-Start CRISPR Assay | dWS-CRISPR | AsCas12a | RT-DAMP | Fluorescence | 90 | NR | NR | 5 | 85 | 100 | 35 | 13 | 19 | Yes | (nasopharyngeal) swabs and saliva | Swab and saliva samples. It does not say whether the swabs are nasopharyngeal | extraction / release | N (28769-28941 in genome) | RT-DAMP | Commercial | NEB | 52 | 90 | Yes | AsCas12a | 52 | 90 | 85.3 | 80 | 1.0662 | Fluorescence | 5'- FAM/CCCCC/IowaBlack-3' | 8330 | Yes | Lab | 1 | 7.6923 | 0 | 0 | 3 | 30 | 13 | 100 | 137.6923 | 32
33 | Machine Learning-Driven and Smartphone-Based Fluorescence Detection for CRISPR Diagnostic of SARS-CoV-2 | Machine Learning-Driven and Smartphone-Based Fluorescence Detection for CRISPR | NA | LbCas12a | RT-RPA | Fluorescence | 60 | 125 | 20 | 6.25 | 92 | 87 | 7 | 5 | 2 | Yes | Nasopharyngeal swabs | RNA samples extracted from nasopharyngeal swabs | extraction | N | RT-RPA | Commercial | TwistDx | 39 | 30 | Not | LbCas12a | 39 | 30 | 1000 | 300 | 3.3333 | Fluorescence | 5′ 6-FAM/3′ BHQ-1 | 500 | Not | Portable | 2 | 15.3846 | 8 | 38.0952 | 4 | 40 | 3 | 23.0769 | 116.5568 | 33
34 | Rapid and Sensitive Detection of SARS-CoV-2 Using Clustered Regularly Interspaced Short Palindromic Repeats.pdf | NA | NA | LbCas12a | RT-RPA | Fluorescence / Lateral Flow Strip | 60 | 2 | 20 | 0.1 | NR | NR | 22 | 0 | 22 | Not | Nasopharyngeal swabs | genomic RNA of cells infected | release | M, N, S | RT-RPA | Commercial | TwistDx | 42 | 30 | Not | LbCas12a | 42 | 30 | 640 | 640 | 1 | Fluorescence / Lateral Flow Strip | GoTaq® Probe One-Step RT-PCR System | 800 | Not | Portable | 2 | 15.3846 | 21 | 100 | 0 | 0 | 0 | 0 | 115.3846 | 34
35 | Detection of the SARS-CoV-2 D614G mutation using engineered Cas12a guide RNA | Synthetic Mismatch Integrated crRNA Guided Cas12a Detection | symRNA-Cas12a | LbCas12a | RT-RPA | Fluorescence | 45 | 10 | 20 | 0.5 | NR | NR | 30 | NR | NR | Yes | Clinical samples | Clinical samples. E and S gene fragments were transcribed IVT. | extraction | E, S | RT-RPA | Commercial | TwistDx | 42 | 30 | Not | LbCas12a | 37 | 15 | 70 | 1000 | 0.07 | Fluorescence | NR | 0.025 | Not | Lab | 5 | 38.4615 | 16 | 76.1905 | 0 | 0 | 0 | 0 | 114.652 | 35
36 | Comparative performance of CRISPR-Cas12a assays for SARS-CoV-2 detection tested with RNA extracted from clinical specimens | Comparison of several methods | NA | LbCas12a | RT-RPA | Fluorescence | 45 | NR | 15 | NR | 84.1 | 93.2 | 107 | 107 | 107 | Yes | Nasopharyngeal and/or throat swabs | Nasopharyngeal and/or throat swab samples | extraction | E, S, N1, N2 | RT-RPA | Commercial | TwistDx | 39 | 30 | Not | LbCas12a | 39 | 15 | 330 | 30 | 11 | Fluorescence | 5' 6-FAM-3' BHQ-1 | 200 | Not | Portable | 5 | 38.4615 | 0 | 0 | 2 | 20 | 6 | 46.1538 | 104.6154 | 36
37 | A protocol for rapid detection of the 2019 novel coronavirus SARS-CoV-2 using CRISPR diagnostics- SARS-CoV-2 DETECTR (Rapid Detection of 2019 Novel Coronavirus SARS-CoV-2 Using a CRISPR-based DETECTR Lateral Flow Assay) | DNA Endonuclease Targeted CRISPR Trans Reporter | DETECTR | LbCas12a | RT-LAMP | Fluorescence / Lateral Flow Strip | 30 | 1400 | 20 | 70 | NA | NA | NA | NA | NA | Not | NA | This is a protocol that assumes you have extracted the RNA from a patient | NA | N, E, RNase P (human sample control) | RT-LAMP | Commercial | NEB | 62 | 20 | Not | LbCas12a | 37 | 10 | 50 | 62.5 | 0.8 | Fluorescence / Lateral Flow Strip | /56-FAM/ TTATTATT/3Bio/ | 500 | Not | Portable | 9 | 69.2308 | 2 | 9.5238 | 0 | 0 | 0 | 0 | 78.7546 | 37
38 | SARS-CoV-2 detection with CRISPR diagnostics | CRISPR-assisted Detection | CASDetec | AapCas12b | RT-RAA | Fluorescence | 40 | 200 | 20 | 10 | NA | NA | NA | NA | NA | Not | NA | Harvested lentivirus samples | extraction / release | RdRp | RT-RAA | Commercial | Hangzhou ZC Bio-Sci&Tech Co | 42 | 30 | Not | AapCas12b | 42 | 10 | 30 | 108 | 0.27778 | Fluorescence | poly-T fluorescence-quenchers of varying nucleotide lengths | 200 | Not | Lab | 6 | 46.1538 | 6 | 28.5714 | 0 | 0 | 0 | 0 | 74.7253 | 38
39 | CRISPR-based surveillance for COVID-19 using genomically-comprehensive machine learning design | Specific High Sensitivity Enzymatic Reporter UnLOCKing | SHERLOCK | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 50 | 200 | 20 | 10 | NR | NR | NR | NR | NR | Yes | NR | Synt DNA & RNA. RNA extrated from patient samples | NR | ORF | RT-RPA | Commercial | TwistDx | 41 | 20 | Not | LwaCas13a | 37 | 30 | 350 | 20 | 17.5 | Fluorescence / Lateral Flow Strip | 56-FAM 3Bio | 126 (F), 1000 (LF) | Not | Portable | 4 | 30.7692 | 6 | 28.5714 | 0 | 0 | 0 | 0 | 59.3407 | 39
40 | A protocol for detection of COVID-19 using CRISPR diagnostics | Specific High Sensitivity Enzymatic Reporter UnLOCKing | SHERLOCK | LwaCas13a | RT-RPA | Fluorescence / Lateral Flow Strip | 55 | 200 | 20 | 10 | NA | NA | NA | NA | NA | Not | NA | Synthetic RNA | NA | S, Orf1ab | RT-RPA | Commercial | TwistDx | 42 | 25 | Not | LwaCas13a | 37 | 30 | 44 | 24.2 | 1.8182 | Fluorescence / Lateral Flow Strip | FAM-Bio (14 nt) | 1000 | Not | Portable | 3 | 23.0769 | 6 | 28.5714 | 0 | 0 | 0 | 0 | 51.6484 | 40
41 | Rapid, field-deployable nucleobase detection and identification using FnCas9 | FnCas9 Editor Linked Uniform Detection Assay | FELUDA | FnCas9 | RT-RPA | Lateral Flow Strip / Gel | 35 | NR | NR | NR | NA | NA | NA | NA | NA | Not | blood | DNA | extraction | NR | RT-RPA | Commercial | TwistDx | 39 | 20 | Not | FnCas9 | 37 | 15 | 500 | 500 | 1 | Lateral Flow Strip / Gel | NR | NA | Not | Portable | 4 | 30.7692 | 0 | 0 | 0 | 0 | 0 | 0 | 30.7692 | 41
42 | An ultrasensitive, rapid, and portable coronavirus SARS-CoV-2 sequence detection method based on CRISPR-Cas12 | NA | NA | LbCas12a | RT-RPA | Fluorescence / Lateral Flow Strip | 60 | NR | NR | 10 | NA | NA | 3 | NA | NA | Not | NA | Synthetic RNA, Synt RNA spiked in saliva samples | release | RdRp, ORF1b and ORF1ab | RT-RPA | Commercial | TwistDx | 42 | 30 | Not | LbCas12a | 37 | 30 | 37 | 37 | 1 | Fluorescence / Lateral Flow Strip | FAM-Quencher / FAM-Biotin | 1000 | Not | Portable | 2 | 15.3846 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3846 | 42
NR | Not Reported
NA | Not Applicable
RT | Room Temperature
F | Fluorescence
LF | Lateral Flow assay