Supplemental Information

|  | ∆mean (meanHC-meanLC) | SD | T | df | 95% CIlower | 95%CIupper | Two-sided p-value | Effect size d |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BLCB | -3.29 | 11.27 | -0.771 | 6 | -13.71 | 7.15 | .470 | .39 |
| BLISF | 8.80 | 8.16 | 2.409 | 4 | -1.34 | 18.94 | .074 | 1.12 |
| AUCCB | -239.17 | 971.95 | -.603 | 5 | -1259.16 | 780.82 | .573 | .28 |
| AUCISF | 1714.00 | 732.07 | 4.683 | 3 | 549.11 | 2878.89 | .018 | 1.62 |

Suppl. 1 Parametric test analysis of R/Fast comparing HC and LC, respectively considering BL and AUC.

|  | MARD ± SD |
| --- | --- |
| HC_R/Fast | 6.56 ± 5.56 |
| LC_R/Fast | 11.39 ± 6.25 |

Suppl. 2 MARD ± SD of HC_R/Fast and LC_R/Fast.

Suppl. 3 Mean CB and ISF glucose concentrations including SD (solid line and positive error indication reflecting SD = CB; dashed line and negative error indication reflecting SD = ISF).

Suppl. 4 Systematic measurement difference of CB and ISF glucose concentration by Bland-Altman plot showing mean difference and their 95% confidence interval as lower and upper limit of agreement.

|  | ∆mean (meanHC-meanLC) | SD | T* | df | 95% CIlower | 95%CIupper | Two-sided p-value | Effect size d* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BLCB | -.60 | 7.69 | -.247 | 9 | -6.10 | 4.90 | .811 | .04 |
| BLISF | .00 | 8.54 | -.000 | 9 | -6.11 | 6.11 | 1.000 | .00 |
| PEAKCB | 3.00 | 19.20 | .469 | 8 | -11.76 | 17.76 | .652 | .12 |
| PEAKISF | 4.14 | 15.89 | .690 | 6 | -10.55 | 18.84 | .516 | .23 |
| AUCCB | 50.63 | 1042.89 | .137 | 7 | -821.25 | 922.50 | .895 | .05 |
| AUCISF |  |  | -1.461 |  |  |  | .144 | .85 |

Suppl. 5 Parametric and non-parametric test analysis of R/Glc comparing HC and LC, respectively considering BL, PEAK and AUC. *As for  AUCISF non-parametric test was performed, z-value instead of t-value and Pearson’s r instead of Cohen’s d are displayed.

| HC_R/Glc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | BL |  | 0 |  | 5 |  | 10 |  | 15 |  | 30 |  | 45 |  | 60 |  | 75 |  | 90 |  | 105 |  | 120 |
| CB | 87±5 |  | 92±11 |  | 113±21 |  | 130±20 |  | 146±22 |  | 177±24 |  | 166±22 |  | 143±22 |  | 114±30 |  | 99±27 |  | 79±17 |  | 74±14 |
| ISF | 78±12 |  | 76±13 |  | 82±14 |  | 94±17 |  | 115±23 |  | 157±21 |  | 158±22 |  | 125±25 |  | 94±22 |  | 80±21 |  | 72±13 |  | 68±16 |
| LC_R/Glc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | BL |  | 0 |  | 5 |  | 10 |  | 15 |  | 30 |  | 45 |  | 60 |  | 75 |  | 90 |  | 105 |  | 120 |
| CB | 90±16 |  | 95±16 |  | 107±23 |  | 134±18 |  | 157±17 |  | 179±28 |  | 155±25 |  | 137±23 |  | 116±22 |  | 98±20 |  | 85±20 |  | 74±18 |
| ISF | 82±15 |  | 81±9 |  | 83±13 |  | 96±20 |  | 119±22 |  | 159±25 |  | 141±30 |  | 113±24 |  | 97±23 |  | 83±19 |  | 77±19 |  | 67±16 |
| 65/Glc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | BL |  | 0 |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  |
| CB |  | 90±8 |  | 93±9 |  | 138±17 |  | 169±17 |  | 165±26 |  | 101±15 |  | 88±20 |  | 89±16 |  | 86±16 |  | 88±19 |  | 82±19 |  |
| ISF |  | 80±7 |  | 80±6 |  | 97±9 |  | 135±25 |  | 160±26 |  | 152±20 |  | 114±40 |  | 89±15 |  | 82±18 |  | 85±22 |  | 84±21 |  |
| 85/Glc |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | BL |  | 0 |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  |
| CB |  | 90±6 |  | 96±9 |  | 131±14 |  | 166±10 |  | 167±23 |  | 111±26 |  | 90±23 |  | 92±20 |  | 91±16 |  | 95±22 |  | 94±19 |  |
| ISF |  | 85±6 |  | 85±5 |  | 102±13 |  | 137±15 |  | 162±19 |  | 157±28 |  | 106±38 |  | 89±18 |  | 91±13 |  | 98±21 |  | 106±26 |  |

Suppl. 6 Mean ± SD of CB and ISF glucose concentrations over time course of data sampling.

|  | MARD ± SD [%] |
| --- | --- |
| HC_R/Glc | 16.73 ± 10.49 |
| LC_R/Glc | 16.88 ± 8.71 |
| 65/Glc | 22.32 ± 24.10 |
| 85/Glc | 18.19 ± 16.51 |

Suppl. 7 MARD ± SD of R/Glc, MC_65/Glc and MC_85/Glc.