| Label |  | Description |
| --- | --- | --- |
| File |  | Raw data file name |
| Nr |  | Number of segment in raw data file name |
| Valid |  | Valid = 1 … Data sample is valid; Valid = 0 … Data sample is skipped. |
| Time |  | Time of data sample in seconds |
| NanoSec |  | Time offset in nanoseconds |
| Latitude |  | Latitude |
| Longitude |  | Longitude |
| Elevation |  | Elevation |
| Local_X |  | Coordinates in local coordinate system, origin is position of first data sample |
| Local_Y |  | Coordinates in local coordinate system |
| Dist |  | Distance from origin of local coordinate system |
| Frequency |  | Frequency of Tx signal |
| Ampl_Tx |  | Amplitude of Tx-Mon signal |
| Phase_Tx |  | Phase of Tx-Mon signal, in degrees |
| PhStep_Tx |  | Difference of phase between two consecutive samples of Tx-Mon signal |
| Ampl_1 |  | Amplitude of Rx-1 signal |
| Phase_1 |  | Phase of Rx-1 signal, in degrees |
| PhStep_1 |  | Difference in phase between two consecutive Rx-1 signals, in degrees |
| Ampl_2 |  | Amplitude of Rx-2 signal |
| Phase_2 |  | Phase of Rx-2 signal, in degrees |
| PhStep_2 |  | Difference in phase between two consecutive Rx-2 signals, in degrees |
| Ampl_3 |  | Amplitude of Rx-3 signal |
| Phase_3 |  | Phase of Rx-3 signal, in degrees |
| PhStep_3 |  | Difference in phase between two consecutive Rx-3 signals, in degrees |
| Ampl_4 |  | Amplitude of Rx-4 signal |
| Phase_4 |  | Phase of Rx-4 signal, in degrees |
| PhStep_4 |  | Difference in phase between two consecutive Rx-4 signals, in degrees |
| dPhaseR_1 |  | Phase of Rx-1 signal, relative to Tx-Mon signal, in degrees |
| dPhaseR_2 |  | Phase of Rx-2 signal, relative to Tx-Mon signal, in degrees |
| dPhaseR_3 |  | Phase of Rx-3 signal, relative to Tx-Mon signal, in degrees |
| dPhaseR_4 |  | Phase of Rx-4 signal, relative to Tx-Mon signal, in degrees |
| dPhaseC_1 |  | Phase of Rx-1 signal, relative to Tx-Mon signal, corrected with calibration value, in degrees |
| dPhaseC_2 |  | Phase of Rx-2 signal, relative to Tx-Mon signal, corrected with calibration value, in degrees |
| dPhaseC_3 |  | Phase of Rx-3 signal, relative to Tx-Mon signal, corrected with calibration value, in degrees |
| dPhaseC_4 |  | Phase of Rx-4 signal, relative to Tx-Mon signal, corrected with calibration value, in degrees |
| Cond_1 |  | Apparent conductivity of Rx-1 signal |
| Cond_2 |  | Apparent conductivity of Rx-2 signal |
| Cond_3 |  | Apparent conductivity of Rx-3 signal |
| Cond_4 |  | Apparent conductivity of Rx-4 signal |