Supplementary information for article “Digital PCR validation for characterization of quantitative reference material of Escherichia coli O157:H7 genomic DNA”

# Method validation

Table S1. Primers and probes of target genes used for E. coli ddPCR study.

| Microorganism | Gene | Sequences | Reference |
| --- | --- | --- | --- |
| Escherichia coli Shigella spp. | uidA | GCAAGGTGCACGGGAATATT | [1] |
|  |  | CAGGTGATCGGACGCGT |  |
|  |  | [HEX] CGC CAC TGG CGG AAG CAA CG [BHQ1] |  |
| Escherichia coli | lacY | TGCTGGCTGGCACTATTATG | Adapted from ([2], [3]) |
|  |  | GCACTTCAAACTGGCTGGTA |  |
|  |  | [FAM] CCG TTC CTG CTG GTG GGC TGC TT [BHQ1] |  |
| Diarrheogenic Escherichia coli | eaeA | CATTGATCAGGATTTTTCTGGTGATA | [4] |
|  |  | CTCATGCGGAAATAGCCGTTA |  |
|  |  | [FAM] ATA GTC TCG CCA GTA TTC GCC ACC AAT ACC [BHQ1] |  |
| Enteropathogenic Escherichia coli O157 (EPEC) | rfbE | TTTCACACTTATTGGATGGTCTCAA | [5] |
|  |  | CGATGAGTTTATCTGCAAGGTGAT |  |
|  |  | [HEX] AGG ACC GCA GAG GAA AGA GAG GAA TTA AGG [BHQ1] |  |
| Escherichia coli producing Shiga toxins (STEC) | stx1 | TTTGTTACTGTGACAGCTGAAGCTTTACG | [5] |
|  |  | CCCCAGTTCAATGTAAGATCAACATC |  |
|  |  | [FAM] CTG GAT GAT CTC AGT GGG CGT TCT TAT GTA A [BHQ1] |  |
|  | stx2 | TTTGTCACTGTCACAGCAGAAGCCTTACG |  |
|  |  | CCCCAGTTCAGAGTGAGGTCCACGTC |  |
|  |  | [HEX] TCG TCA GGC ACT GTC TGA AAC TGC TCC [BHQ1] |  |
| Escherichia coli O157:H7 | Z3276 | CGGGGGATACATTTACGCTT | [6], [7] |
|  |  | TTTCTGAGCTGGAACAAGGC |  |
|  |  | [FAM] ACGGTGTTTTCAGGCTTACAGGTCGT [BHQ1] |  |

Figure S1. 2% agarose electrophoresis of amplification products of E. coli O157:H7 gene targets.

Figure S2. Linear interval for DNA targets in E. coli O157:H7 gene quantification by ddPCR

Amplification curves and linearity graphs of the amplification cycle depending on the logarithm of the MRC IRMM 449 DNA dilution by qPCR.

Tables S2-S8. Data of precision experiments performed in three different days at five sample concentration levels with three replicas for each sequence target.

Table S2. uidA measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 6540,13 | 6697,62 | 6794,56 | 8,66E-02 |
|  | 2 | 6794,82 | 7533,69 | 7062,06 | 9,28E-02 |
|  | 3 | 6530,17 | 6545,06 | 6896,68 | 8,92E-02 |
| 2 | 1 | 683,96 | 712,77 | 740,21 | 9.12E-02 |
|  | 2 | 639,56 | 660,39 | 614,79 | 7,83E-02 |
|  | 3 | 681,27 | 652,63 | 672,99 | 8,24E-02 |
| 3 | 1 | 67,10 | 68,38 | 66,68 | 8,75E-02 |
|  | 2 | 59,70 | 68,85 | 56,71 | 8,08E-02 |
|  | 3 | 61,40 | 62,90 | 59,34 | 8,10E-02 |
| 4 | 1 | 5,75 | 5,53 | 6,85 | 8,47E-02 |
|  | 2 | 6,85 | 7,16 | 6,16 | 8,03E-02 |
|  | 3 | 5,06 | 6,12 | 5,13 | 8,04E-02 |
| 5 | 1 | 1,69 | 1,60 | 1,80 | 8,55E-02 |
|  | 2 | 1,68 | 1,33 | 1,33 | 8,35E-02 |
|  | 3 | 1,05 | 2,02 | 1,48 | 8,03E-02 |

Table S3. lacY measurement results in ddPCR reaction.

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 6898,69 | 7222,34 | 7401,78 | 8,54E-02 |
|  | 2 | 7678,82 | 8255,54 | 7688,78 | 9,30E-02 |
|  | 3 | 8031,36 | 7980,63 | 8355,61 | 9,10E-02 |
| 2 | 1 | 696,06 | 779,84 | 759,19 | 9.12E-02 |
|  | 2 | 691,99 | 672,64 | 662,83 | 7,83E-02 |
|  | 3 | 725,92 | 685,97 | 687,31 | 8,24E-02 |
| 3 | 1 | 67,25 | 67,67 | 73,66 | 8,75E-02 |
|  | 2 | 63,28 | 66,85 | 65,71 | 8,08E-02 |
|  | 3 | 61,33 | 60,74 | 63,80 | 8,10E-02 |
| 4 | 1 | 6,73 | 8,12 | 7,71 | 8,47E-02 |
|  | 2 | 7,28 | 5,77 | 6,43 | 8,03E-02 |
|  | 3 | 5,99 | 5,29 | 5,67 | 8,04E-02 |
| 5 | 1 | 1,69 | 1,67 | 1,08 | 8,55E-02 |
|  | 2 | 1,17 | 0,99 | 1,72 | 8,35E-02 |
|  | 3 | 1,48 | 1,59 | 1,48 | 8,03E-02 |

Table S4. eaeA measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 7536,62 | 7786,61 | 8102,18 | 8,87E-02 |
|  | 2 | 8969,36 | 8174,37 | 8417,44 | 9,47E-02 |
|  | 3 | 9724,67 | 9159,13 | 10300,70 | 8,57E-02 |
| 2 | 1 | 753,44 | 780,90 | 720,52 | 8,97E-02 |
|  | 2 | 719,06 | 714,51 | 595,67 | 8,04E-02 |
|  | 3 | 741,42 | 739,41 | 749,84 | 8,08E-02 |
| 3 | 1 | 68,36 | 75,74 | 70,42 | 8,54E-02 |
|  | 2 | 67,24 | 57,72 | 66,29 | 7,85E-02 |
|  | 3 | 71,56 | 71,60 | 55,37 | 7,72E-02 |
| 4 | 1 | 7,73 | 5,81 | 8,16 | 8,45E-02 |
|  | 2 | 6,60 | 6,54 | 6,79 | 7,96E-02 |
|  | 3 | 6,96 | 6,27 | 6,75 | 7,85E-02 |
| 5 | 1 | 0,96 | 0,95 | 1,63 | 8,52E-02 |
|  | 2 | 1,06 | 1,25 | 0,82 | 8,40E-02 |
|  | 3 | 1,07 | 1,59 | 1,20 | 7,93E-02 |

Table S5. rfbE measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 7025,54 | 7612,30 | 7633,26 | 8,64E-02 |
|  | 2 | 7859,07 | 8008,88 | 7753,30 | 9,16E-02 |
|  | 3 | 8026,80 | 8103,37 | 7509,71 | 9,11E-02 |
| 2 | 1 | 769,02 | 766,27 | 787,97 | 9,02E-02 |
|  | 2 | 715,78 | 705,07 | 716,13 | 7,87E-02 |
|  | 3 | 694,99 | 692,05 | 699,02 | 7,92E-02 |
| 3 | 1 | 67,04 | 71,84 | 73,73 | 8,60E-02 |
|  | 2 | 63,97 | 64,42 | 68,45 | 7,71E-02 |
|  | 3 | 66,54 | 63,37 | 65,73 | 8,14E-02 |
| 4 | 1 | 20,54 | 17,23 | 18,89 | 8,48E-02 |
|  | 2 | 18,76 | 17,07 | 18,36 | 7,92E-02 |
|  | 3 | 18,82 | 18,20 | 17,02 | 7,90E-02 |
| 5 | 1 | 1,33 | 1,44 | 1,15 | 8,43E-02 |
|  | 2 | 1,41 | 1,55 | 1,24 | 8,47E-02 |
|  | 3 | 0,96 | 1,40 | 0,85 | 8,08E-02 |

Table S6. stx1 measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 7005,08 | 7281,22 | 7673,33 | 8,56E-02 |
|  | 2 | 7648,85 | 7814,37 | 7899,21 | 9,24E-02 |
|  | 3 | 7569,11 | 6978,06 | 7019,57 | 8,77E-02 |
| 2 | 1 | 758,91 | 749,29 | 781,04 | 9,02E-02 |
|  | 2 | 695,38 | 698,07 | 686,75 | 7,87E-02 |
|  | 3 | 699,22 | 683,37 | 700,67 | 7,92E-02 |
| 3 | 1 | 70,58 | 72,01 | 69,02 | 8,60E-02 |
|  | 2 | 63,97 | 64,42 | 68,45 | 7,71E-02 |
|  | 3 | 67,98 | 67,26 | 63,87 | 8,14E-02 |
| 4 | 1 | 6,98 | 5,53 | 6,46 | 8,48E-02 |
|  | 2 | 7,11 | 6,39 | 6,07 | 7,92E-02 |
|  | 3 | 6,56 | 5,13 | 5,43 | 7,90E-02 |
| 5 | 1 | 1,48 | 1,52 | 2,30 | 8,43E-02 |
|  | 2 | 0,74 | 1,23 | 1,77 | 8,47E-02 |
|  | 3 | 1,84 | 1,48 | 1,08 | 8,08E-02 |

Table S7. stx2 measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 8553,49 | 8414,37 | 8198,42 | 8,71E-02 |
|  | 2 | 11086,21 | 9778,56 |  | 9,14E-02 |
|  | 3 | 11193,89 | 11182,05 |  | 8,76E-02 |
| 2 | 1 | 832,77 | 853,86 | 835,48 | 8,79E-02 |
|  | 2 | 775,25 | 771,97 | 749,30 | 7,91E-02 |
|  | 3 | 805,62 | 775,25 | 736,90 | 8,05E-02 |
| 3 | 1 | 71,06 | 80,93 | 77,32 | 8,43E-02 |
|  | 2 | 72,67 | 68,24 | 71,31 | 7,93E-02 |
|  | 3 | 80,04 | 67,43 | 49,44 | 7,81E-02 |
| 4 | 1 | 6,50 | 6,06 | 8,28 | 8,49E-02 |
|  | 2 | 6,25 | 7,15 | 6,72 | 7,68E-02 |
|  | 3 | 6,73 | 8,26 | 6,59 | 7,76E-02 |
| 5 | 1 | 2,10 | 1,50 | 1,45 | 8,52E-02 |
|  | 2 | 0,93 | 1,45 | 1,08 | 8,54E-02 |
|  | 3 | 1,60 | 0,91 | 1,03 | 7,86E-02 |

Table S8. Z3276 measurement results in ddPCR reaction

| Level | Day | Replicate 1 | Replicate 2 | Replicate 3 | Dilution |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 6873,09 | 7322,71 | 7001,59 | 8,62E-02 |
|  | 2 | 7188,09 | 7373,52 | 7241,81 | 8,66E-02 |
|  | 3 | 7419,37 | 7572,51 | 7556,88 | 9,28E-02 |
| 2 | 1 | 702,38 | 732,91 | 740,48 | 8,87E-02 |
|  | 2 | 689,01 | 653,75 | 615,59 | 8,04E-02 |
|  | 3 | 686,06 | 671,08 | 693,41 | 7,96E-02 |
| 3 | 1 | 67,64 | 66,15 | 67,71 | 8,64E-02 |
|  | 2 | 64,09 | 63,35 | 58,65 | 7,85E-02 |
|  | 3 | 60,03 | 61,54 | 63,66 | 7,84E-02 |
| 4 | 1 | 7,56 | 7,63 | 7,18 | 8,69E-02 |
|  | 2 | 6,06 | 6,04 | 6,91 | 7,96E-02 |
|  | 3 | 6,11 | 6,81 | 6,89 | 7,96E-02 |
| 5 | 1 | 1,45 | 1,25 | 1,01 | 8,55E-02 |
|  | 2 | 0,94 | 1,36 | 0,65 | 8,40E-02 |
|  | 3 | 1,00 | 0,82 | 1,78 | 7,70E-02 |

# Reference material production

Table S9. Analysis of variance of homogeneity between bottles of pilot batches

| Origin of variations | Sum of squares | Degrees of freedom | Average of squares | Fcal | P(0,05) | Fcrit |
| --- | --- | --- | --- | --- | --- | --- |
| Low level concentration batch100 copies/μL |  |  |  |  |  |  |
| Between groups | 501 | 7 | 71.6 | 1.16 | 0.34 | 2.25 |
| Within groups | 2465 | 40 | 61.6 |  |  |  |
| Total | 2966 | 47 |  |  |  |  |
| High level concentration Batch 100.000 copies/μL |  |  |  |  |  |  |
| Between groups | 91965676 | 7 | 13137953 | 1.17 | 0.37 | 2.66 |
| Within groups | 179023138 | 16 | 11188946 |  |  |  |
| Total | 270988815 | 23 |  |  |  |  |

Table S10.  Regression analysis results for short and long term stability study for high (HL) and low (LL) concentration level materials at 4ºC and -20ºC.

| Study | Material/condition | Slope | Intercept | R2 | p-value |
| --- | --- | --- | --- | --- | --- |
| STS | LL-4ºC | 0.000244 | 0.9902 | 0.003526 | 0.9406 |
|  | LL -20ºC | 0.00200 | 0.9499 | 0.07817 | 0.7204 |
|  | HL-4ºC | 0.00108 | 0.9768 | 0.5628 | 0.2498 |
|  | HL -20ºC | -0.00096 | 0.9637 | 0.3217 | 0.4328 |
| LTS | LL-4ºC | 0.00085 | 0.9792 | 0.3537 | 0.2131 |
|  | LL -20ºC | -0.00041 | 0.9614 | 0.09906 | 0.5435 |
|  | HL-4ºC | 0.00150 | 0.9613 | 0.4255 | 0.1603 |
|  | HL -20ºC | 0.00013 | 0.9587 | 0.1200 | 0.5012 |

Table S11.  Regression analysis results for short and long term stability study for high (HL) and low (LL) concentration level materials at 4ºC and -20ºC.

| Condition | Slope | Standard error | relative uncertainty | u absolut uncertainty |
| --- | --- | --- | --- | --- |
| LTS 4 HL | 0,00150 | 0,0008727 | 0,052362 | 8632 |
| LTS-20 HL | 0,00013 | 0,0001843 | 0,011058 | 1823 |
| LTS 4 LL | 0,00085 | 0,000577 | 0,03462 | 5,95 |
| LTS-20 LL | -0,00041 | 0,0006171 | 0,037026 | 6,37 |

Supplementary Information SI 1

| T.test (performed with R Version 4.4.3) |  |
| --- | --- |
| Low concentration level Two Sample t-test data: LL_Z3276 and LL_rfbE t = -3.3751, df = 52, p-value = 0.001402 alternative hypothesis: true difference in means is not equal to 0 95 percent confidence interval: -11.218848 -2.852748 sample estimates: mean of x mean of y 168.1533 175.1891 | High Concentration level Two Sample t-test data: HL_Z3276 and HL_rfbE t = -7.0148, df = 46, p-value = 8.658e-09 alternative hypothesis: true difference in means is not equal to 0 95 percent confidence interval: -9619.664 -5329.899 sample estimates: mean of x mean of y 161032.7 168507.5 |

Table S12. Characterization results of batch 100.000 copies/μL with Z3276

| Day | Sample | Result by days |  |  |  |  | Total result |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Value | u comb. | u rel | Average | u comb. Day | Average | u comb. |
| 1 | 190401-08P-26 | 133250 | 2203 | 1,7% | 161795 | 1806 | 161117 | 3975 |
|  | 190401-08P-42 | 161762 | 2619 | 1,6% |  |  |  |  |
|  | 190401-08P-66 | 161827 | 2486 | 1,5% |  |  |  |  |
| 2 | 190401-08P-10 | 162900 | 2894 | 1,8% | 162945 | 1775 |  |  |
|  | 190401-08P-50 | 164668 | 2462 | 1,5% |  |  |  |  |
|  | 190401-08P-58 | 161266 | 2288 | 1,4% |  |  |  |  |
| 3 | 190401-08P-18 | 154070 | 2568 | 1,7% | 158613 | 2777 |  |  |
|  | 190401-08P-34 | 159595 | 2354 | 1,5% |  |  |  |  |
|  | 190401-08P-75 | 162174 | 2415 | 1,5% |  |  |  |  |

Table S13. Characterization results of batch 100.000 copies/μL with rfbE

| Day | Sample | Result by days |  |  |  |  | Total result |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Value | u comb. | u rel | Average | u comb. Day | Average | u comb. |
| 1 | 190401-08P-26 | 141085 | 2166 | 1,5% | 169427 | 2879 | 168610 | 3858 |
|  | 190401-08P-42 | 171661 | 2526 | 1,5% |  |  |  |  |
|  | 190401-08P-66 | 167194 | 2610 | 1,6% |  |  |  |  |
| 2 | 190401-08P-10 | 169707 | 2522 | 1,5% | 170103 | 1526 |  |  |
|  | 190401-08P-50 | 171153 | 2450 | 1,4% |  |  |  |  |
|  | 190401-08P-58 | 169449 | 2463 | 1,5% |  |  |  |  |
| 3 | 190401-08P-18 | 164628 | 2404 | 1,5% | 166299 | 1702 |  |  |
|  | 190401-08P-34 | 159595 | 2354 | 1,5% |  |  |  |  |
|  | 190401-08P-75 | 162174 | 2415 | 1,5% |  |  |  |  |

Table S14. Characterization results of batch 100 copies/μL with Z3276

| Day | Sample | Result by days |  |  |  |  | Total result |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Value | u comb. | u rel | Average | u comb. Day | Average | u comb. |
| 1 | 190401-10P-24 | 160,18 | 6,52 | 4,1% | 164 | 4 | 168 | 8 |
|  | 190401-10P-51 | 163,79 | 6,29 | 3,8% |  |  |  |  |
|  | 190401-10P-59 | 167,05 | 6,29 | 3,8% |  |  |  |  |
| 2 | 190401-10P-16 | 170,29 | 6,44 | 3,8% | 169 | 4 |  |  |
|  | 190401-10P-67 | 171,42 | 6,55 | 3,8% |  |  |  |  |
|  | 190401-10P-76 | 166,29 | 6,25 | 3,8% |  |  |  |  |
| 3 | 190401-10P-08 | 167,32 | 6,48 | 3,9% | 171 | 4 |  |  |
|  | 190401-10P-32 | 171,96 | 6,44 | 3,7% |  |  |  |  |
|  | 190401-10P-40 | 175,08 | 6,41 | 3,7% |  |  |  |  |

Table S15. Characterization results of batch 100 copies/μL with rfbE

| Day | Sample | Result by days |  |  |  |  | Total result |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Value | u comb. | u rel | Average | u comb. Day | Average | u comb. |
| 1 | 190401-10P-24 | 177 | 6,44 | 3,6% | 177 | 4 | 175 | 8 |
|  | 190401-10P-51 | 181 | 6,74 | 3,7% |  |  |  |  |
|  | 190401-10P-59 | 175 | 7,81 | 4,5% |  |  |  |  |
| 2 | 190401-10P-16 | 183 | 7,24 | 4,0% | 177 | 6 |  |  |
|  | 190401-10P-67 | 170 | 6,32 | 3,7% |  |  |  |  |
|  | 190401-10P-76 | 179 | 6,63 | 3,7% |  |  |  |  |
| 3 | 190401-10P-08 | 171 | 6,82 | 4,0% | 171 | 4 |  |  |
|  | 190401-10P-32 | 171 | 6,46 | 3,8% |  |  |  |  |
|  | 190401-10P-40 | 172 | 6,67 | 3,9% |  |  |  |  |

Figure S3

Short term stability study results (relative to controls) for High and low level copy number concentration batches.

Figure S4. Uncertainty estimation candidate for reference material

Table S16. dMIQE checklist

| ITEM TO CHECK | IMPORTANCE | Comments |
| --- | --- | --- |
| EXPERIMENTAL DESIGN |  |  |
| Definition of experimental and control groups | E | Not applicable |
| Number within each group | E | Not applicable |
| Assay carried out by core lab or investigator's lab? | D | Investigator’s lab |
| Power analysis | D | Not applicable |
| SAMPLE |  |  |
| Description | E | Included in manuscript |
| Volume or mass of sample processed | E | Included in manuscript |
| Microdissection or macrodissection | E | Not applicable |
| Processing procedure | E | Not applicable |
| If frozen - how and how quickly? | E | Not applicable |
| If fixed - with what, how quickly? | E | Not applicable |
| Sample storage conditions and duration (especially for FFPE samples) | E | Included in manuscript |
| NUCLEIC ACID EXTRACTION |  |  |
| Quantification - instrument/method | E | Included in the manuscript |
| Storage conditions: temperature, concentration, duration, buffer | E | Included in the manuscript |
| DNA or RNA quantification | E | Included in the manuscript |
| Quality/integrity-instrument/method; e.g. RIN/RQI and trace or 3’:5’ | E | Included in the manuscript |
| Template structural information | E | Not applicable |
| Template modification (digestion, sonication, pre-amplification etc.) | E | Not applicable |
| Template treatment (initial heating or chemical denaturation) | E | Not applicable |
| Inhibition dilution or spike; | E | Not applicable |
| DNA contamination assessment of RNA sample | E | Included in the manuscript |
| Details of DNase treatment where performed | E | Included in the manuscript |
| Manufacturer of reagents used and catalogue number | D | Not applicable |
| Storage of nucleic acid: temperature, concentration, duration, buffer | E | Included in the manuscript |
| REVERSE TRANSCRIPTION (If necessary) |  |  |
| cDNA priming method + concentration | E | Not applicable |
| One or two step protocol | E | Not applicable |
| Amount of RNA used per reaction | E | Not applicable |
| Detailed reaction components and conditions | E | Not applicable |
| RT efficiency | D | Not applicable |
| Estimated copies measured with and without addition of RT | D | Not applicable |
| Manufacturer of reagents used and catalogue number | D | Not applicable |
| Reaction volume (for two step reverse transcription reaction) | D | Not applicable |
| Storage of cDNA: temperature, concentration, duration, buffer | D | Not applicable |
| dPCR TARGET INFORMATION |  |  |
| Sequence accession number | E | Included in manuscript |
| Location of amplicon | D | uidA: 2369650 - 2396742 lacY: 418928 - 419080 eaeA: 4667314 - 4667415 rfbE: 2852517 - 2852604 stx1: 2996304 - 2996434 stx2: 1352836 - 1352963 Z3276: 2933746 - 2933860 Reference location in Escherichia coli O157:H7 str. EDL933, complete sequence. GenBank NC_002655 |
| Amplicon length | E | Included in manuscript |
| In silico specificity screen (BLAST, etc) | E | Included in supplementary information |
| Pseudogenes, retropseudogenes or other homologs? | D | Not applicable |
| Sequence alignment | D | Included in supplementary information |
| Secondary structure analysis of amplicon and GC content | D | Included in supplementary information |
| Location of each primer by exon or intron (if applicable) | E | Not applicable |
| Where appropriate, which splice variants are targeted? | E | Not applicable |
| dPCR OLIGONUCLEOTIDES |  |  |
| Primer sequences and/or amplicon context sequence | E | Included in manuscript |
| RTPrimerDB Identification Number | D | Not included |
| Probe sequences | D | Included in manuscript |
| Location and identity of any modifications | E | Not applicable |
| Manufacturer of oligonucleotides | D | Included in manuscript |
| Purification method | D | RPC for primers and RP HPLC/dual HPLC for probes |
| dPCR PROTOCOL |  |  |
| Complete reaction conditions | E | Included in manuscript |
| Reaction volume and amount of RNA/cDNA/DNA | E | Included in manuscript |
| Primer, (probe), Mg++ and dNTP concentrations | E | Included in manuscript |
| Polymerase identity and concentration | E | Included in manuscript |
| Buffer/kit Catalogue No and manufacturer | E | Included in manuscript |
| Exact chemical constitution of the buffer | D | Not applicable |
| Additives (SYBR Green I, DMSO, etc.) | E | Not applicable |
| Plates/tubes Catalogue No and manufacturer | D | Included in manuscript |
| Complete thermocycling parameters | E | Included in manuscript |
| Reaction setup | D | Included in manuscript |
| Gravimetric or volumetric dilutions (manual/robotic) | D | Manual |
| Total PCR reaction volume prepared | D | Included in manuscript |
| Partition number | E | 13000 - 19000 |
| Individual partition volume | E | Included in manuscript |
| Total volume of the partitions measured (effective reaction size) | E | 10.6 – 15.6 uL |
| Partition volume variance/standard deviation | D | Not applicable |
| Comprehensive details and appropriate use of controls | E | Included in manuscript |
| Manufacturer of dPCR instrument | E | Included in manuscript |
| dPCR VALIDATION |  |  |
| Optimisation data for the assay | D | Not included in manuscript |
| Specificity (when measuring rare mutations, pathogen sequences etc.) | E | Included in manuscript |
| Limit of detection of calibration control | D | Included in manuscript |
| If multiplexing, comparison with singleplex assays | E | Not included in manuscript |
| DATA ANALYSIS |  |  |
| Average copies per partition (λ or equivalent) | E | L1: 7,920 cp/uL L2: 718 cp/uL L3: 66 cp/uL L4: 6.6 cp/uL L5: 1.3 cp/uL |
| dPCR analysis program (source, version) | E | Included in manuscript |
| Outlier identification and disposition | E | Included in manuscript |
| Results of NTCs | E | Included in manuscript |
| Examples of positive(s) and negative experimental results as supplemental data | E | Included in supplementary information |
| Where appropriate, justification of number and choice of reference genes | E | Included in manuscript |
| Where appropriate, description of normalization method | E | Not applicable |
| Number and concordance of biological replicates | D | Not applicable |
| Number and stage (RT or qPCR) of technical replicates | E | Included in manuscript |
| Repeatability (intra-assay variation) | E | Included in manuscript |
| Reproducibility (inter-assay/user/lab etc. variation) | D | Included in manuscript |
| Experimental variance or confidence interval | E | Included in manuscript |
| Statistical methods used for analysis | E | Included in manuscript |
| Data submission using RDML | D | Not included in manuscript |

E: Essential information, D: Desirable information

# References

[1]	E. Theres, M. Polt, M. Konrad-k, P. Kinner, A. Sessitsch, and T. Kosti, “Evaluation of quantitative PCR combined with PMA treatment for molecular assessment of microbial water quality,” vol. 7, no. 0, pp. 367–376, 2014, doi: 10.1016/j.watres.2014.09.022.

[2]	S. Das Mitrai et al., “Duplex PCR for specific detection of Escherichia coli and its differentiation from other Enterobacteriaceae,” Indian J. Anim. Sci., vol. 85, no. 8, pp. 16–19, 2015.

[3]	K. Horakova, H. Mlejnkova, and P. Mlejnek, “Specific detection of Escherichia coli isolated from water samples using polymerase chain reaction targeting four genes: Cytochrome bd complex, lactose permease, ??-d-glucuronidase, and ??-d-galactosidase,” J. Appl. Microbiol., vol. 105, no. 4, pp. 970–976, 2008, doi: 10.1111/j.1365-2672.2008.03838.x.

[4]	E. M. Nielsen and M. T. Andersen, “Detection and Characterization of Verocytotoxin-Producing Escherichia coli by Automated 5 ′ Nuclease PCR Assay Detection and Characterization of Verocytotoxin-Producing Escherichia coli by Automated 5Ј Nuclease PCR Assay,” J. Clin. Microbiol., vol. 41, no. 7, pp. 2884–2893, 2003, doi: 10.1128/JCM.41.7.2884.

[5]	I. O. for S. ISO, “ISO/TS 13136:2012 - Microbiology of food and animal feed -- Real-time polymerase chain reaction (PCR)-based method for the detection of food-borne pathogens -- Horizontal method for the detection of Shiga toxin-producing Escherichia coli (STEC) and the determination of O157, O111, O26, O103 and O145 serogroups,” 2012. https://www.iso.org/standard/53328.html (accessed Mar. 21, 2019).

[6]	B. Li and J. Chen, “Real-Time PCR Methodology for Selective Detection of Viable Escherichia coli O157 : H7 Cells by Targeting Z3276 as a Genetic,” vol. 78, no. 15, pp. 5297–5304, 2012, doi: 10.1128/AEM.00794-12.

[7]	B. Li, H. Liu, and W. Wang, “Multiplex real-time PCR assay for detection of Escherichia coli O157 : H7 and screening for non-O157 Shiga toxin-producing E . coli,” pp. 1–13, 2017, doi: 10.1186/s12866-017-1123-2.