Supporting Information

First Evidence of Widespread Occurrence and Bioaccumulation of the Antiandrogenic Fluorescent Dye 7-(dimethylamino)-4-methylcoumarin and 7-(dimethylamino)-4-methylcoumarin in Dongjiang River Basin, South China

Yufeng Lai1, Yin Huang1, Runlin Chen1, Rundong Peng1, Siying Zhang1, Yufei Li1, Guochun Yang2, Yuxian Liu1,*

1 Key Laboratory of Ministry of Education for Water Quality Security and Protection in Pearl River Delta, School of Environmental Science and Engineering, Guangzhou University, Guangzhou 510006, China

2 Department of Psychological and Brain Sciences, University of Iowa, Iowa City, IA 52242, USA.

*Corresponding author

Yuxian Liu, PhD, Guangzhou University, Guangzhou, 510006, China

Email: liuyuxian@gzhu.edu.cn

Submission to: Toxics

Supporting Information contains 6 pages which including 4 tables.

Supporting Information Table S1. The physicochemical properties of the target analytes measured in this study (predicted using the US Environmental Protection Agency’s EPI Suite™).

Supporting Information Table S2. Retention time, MRM transition and mass spectrometric parameters of coumarins.

Supporting Information Table S3. Major parameters for the gradient flow used in the separation of coumarins.

Supporting Information Table S4. Quality assurance/quality control (QA/QC) information of coumarins in each matrix.

Table S1 The physicochemical properties of the target analytes measured in this study (predicted using the US Environmental Protection Agency’s EPI Suite™).

| Compound | Abbreviation | CAS# | Structure | M.W. | Log Kowa | Solubility (mg/L) at 25 ℃b | BAFc | BCFd |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7-(dimethylamino)-4-methylcoumarin (sublimation purified) | DACM | 87-01-4 |  | 203.24 | 2.24 | 516.9 | 9.661 | 9.661 |
| 7-diethylamino-4-methylcoumarin (sublimation purified) | R-ADMC | 91-44-1 |  | 203.24 | 3.22 | 53.28 | 38.09 | 38.09 |

* Based on experiment database match; a Based on KOWWINTM v1.68 estimate; b Based on WSKOWWINTM v1.42; c & d Based on BCFBAFTM v3.01.

Table S2 Retention time, MRM transition and mass spectrometric parameters of coumarins.

| Coumarins | RTa | Q1b | Q3c | DPd | CEe | EPf | CXPg |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linuron-d6 1 | 15.0 | 255.000 | 160.000 | 106.000 | 27.000 | 8.000 | 14.000 |
| Linuron-d6 2 | 15.0 | 255.000 | 185.000 | 106.000 | 22.000 | 8.000 | 17.000 |
| R-ADMC 1 | 15.0 | 232.000 | 188.000 | 104.000 | 41.000 | 5.000 | 17.000 |
| R-ADMC 2 | 15.0 | 232.000 | 203.000 | 104.000 | 25.000 | 5.000 | 20.000 |
| DACM 1 | 15.0 | 204.000 | 148.000 | 150.000 | 31.000 | 11.000 | 14.000 |
| DACM 2 | 15.0 | 204.000 | 132.000 | 150.000 | 48.000 | 10.000 | 13.000 |

aRT: Retention time (min); bQ1: Precursor ion; cQ3: Product ion; dDP:Declistering Potential; eCE: Collision Energy; fEP: Entrance Potential; gCXP: Cell exit Potential

Table S3 Major parameters for the gradient flow used in the separation of coumarins.

| Time (min) | Flow rate (mL/min) | Mobile Phase A (%) | Mobile Phase B (%) |
| --- | --- | --- | --- |
| 0 | 0.3 | 98 | 2 |
| 1 | 0.3 | 96 | 4 |
| 6 | 0.3 | 1 | 99 |
| 8 | 0.3 | 1 | 99 |
| 9 | 0.3 | 98 | 2 |
| 10 | 0.3 | 98 | 2 |

*0.1% formic acid in milli-Q water and 0.1% formic acid acetonitrile were separately used as mobile phase A and B.

Table S4 Quality assurance/quality control (QA/QC) information of coumarins in each matrix.a

|  | DACM | R-ADMC |
| --- | --- | --- |
|  | Water samples |  |
| Recoveries (%) | 63.00 | 63.00 |
| Matrix effect (%) | 87.90 | 91.50 |
| Accuracy (%) | 55.40 | 57.70 |
| Precision (%) | 12.9 | 9.6 |
|  | Sediment samples |  |
| Recoveries (%) | 50.60 | 68.30 |
| Matrix effect (%) | 110.00 | 85.04 |
| Accuracy (%) | 61.16 | 64.30 |
| Precision (%) | 1.67 | 2.62 |
|  | Fish Samples |  |
| Recoveries (%) | 97.96 | 94.14 |
| Matrix effect (%) | 74.27 | 80.05 |
| Accuracy (%) | 72.90 | 75.57 |
| Precision (%) | 16.39 | 14.31 |
|  | Plant, Algae and Zooplankton samples |  |
| Recoveries (%) | 93.47 | 94.93 |
| Matrix effect (%) | 120.42 | 99.07 |
| Accuracy (%) | 112.56 | 94.04 |
| Precision (%) | 3.95 | 3.01 |

a For the pre-extraction matrix spike sample, randomly selected samples (n > 3) were spiked with 10 ng of the target analytes and 10 ng Linuron-d6 prior to extraction; for the post-extraction matrix spike sample, the randomly selected samples were spiked with 10 ng Linuron-d6 prior to extraction and 10 ng target analytes prior to reconstitution.